## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784C-0
0866 | HI784C-0 | CP-R84 | W49/1 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent C | 2027-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2120 | 0820 | 0866
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2027-05-01 | 2027-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-09 | 2024-12-09 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | CTO-320 | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR09 |  | 0.03 | & | 5% | 80%
3 | 1.25 | 1.17 | 1.33 | [8 empty] | 12.10 | 12.0 | 12.20
4 | 2.10 | 1.99 | 2.21
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2024-12-05 | 15:42 | 2024-12-05 | 14:11 | ERIKA |  | 0.38 | 0.37 | / | / |  |  | 11.911 |  | 5.97 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 2 | Valid | 2024-12-05 | 15:43 | 2024-12-05 | 14:11 | ERIKA |  | 0.45 | 0.45 | / | / |  |  | 11.910 |  | 5.97 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 3 | Valid | 2024-12-05 | 15:44 | 2024-12-05 | 14:11 | ERIKA |  | 0.37 | 0.37 | / | / |  |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.25 | 4 | Old C | 2024-12-05 | 15:54 | 2024-12-05 | 14:11 | ERIKA |  | 1.21 | 1.20 | / | / |  |  |  |  | 4.60 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 5 | Valid | 2024-12-05 | 15:55 | 2024-12-05 | 14:11 | ERIKA |  | 1.16 | 1.16 | / | / |  |  |  |  | 0.92 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 6 | Valid | 2024-12-05 | 15:55 | 2024-12-05 | 14:11 | ERIKA |  | 1.17 | 1.16 | / | / |  |  |  |  | 2.91 |  | 1 | Brigitta P |  | 3 | 3
4 | 2.10 | 7 | Old C | 2024-12-05 | 15:59 | 2024-12-05 | 14:11 | ERIKA |  | 1.98 | 1.98 | / | / |  |  |  |  | 2.91 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 8 | Valid | 2024-12-05 | 16:00 | 2024-12-05 | 14:11 | ERIKA |  | 1.99 | 1.97 | / | / |  |  |  |  | 2.09 |  | 1 | Brigitta P |  | 3 | 4
1 | 0.00 | 9 | Old C | 2024-12-05 | 16:01 | 2024-12-05 | 14:11 | ERIKA |  | 0.03 | 0.03 | / | / |  |  |  |  | 8.20 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 10 | Valid | 2024-12-05 | 16:02 | 2024-12-05 | 14:11 | ERIKA |  | 0.03 | 0.03 | / | / |  |  |  |  | 1.61 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 11 | Valid | 2024-12-05 | 16:02 | 2024-12-05 | 14:11 | ERIKA |  | 0.03 | 0.03 | / | / |  |  |  |  | 1.82 |  | 1 | Brigitta P |  | 3 | 1
3 | 1.25 | 12 | Valid | 2024-12-06 | 7:10 | 2024-12-05 | 14:11 | ERIKA |  | 1.17 | 1.18 | / | / |  |  |  |  | 1.80 |  | 1 | Brigitta P |  | 3 | 1
3 | 1.25 | 13 | Valid | 2024-12-06 | 7:15 | 2024-12-05 | 14:11 | ERIKA |  | 1.17 | 1.17 | / | / |  |  |  |  | 1.70 |  | 1 | Brigitta P |  | 3 | 1
4 | 2.10 | 14 | Valid | 2024-12-06 | 7:15 | 2024-12-05 | 14:11 | ERIKA |  | 2.07 | 2.07 | / | / |  |  |  |  | 2.80 |  | 1 | Brigitta P |  | 3 | 1
4 | 2.10 | 15 | Valid | 2024-12-06 | 7:15 | 2024-12-05 | 14:11 | ERIKA |  | 2.07 | 2.05 | / | / |  |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 1
3 | 1.25 | 16 | Old C | 2024-12-09 | 14:24 | 2024-12-09 | 10:59 | NINA | PRECI | 1.16 | 1.16 | / | / |  |  |  |  | 3.02 |  | 1 | Kinga |  | 3 | 3 | 93353
2 | 0.40 | 17 | Old C | 2024-12-09 | 14:26 | 2024-12-09 | 10:59 | NINA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 2.99 |  | 1 | Kinga |  | 3 | 2 | 93353
4 | 2.10 | 18 | Old C | 2024-12-09 | 14:35 | 2024-12-09 | 10:59 | NINA | PRECI | 2.00 | 2.00 | / | / |  |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 4 | 93353
1 | 0.00 | 19 | Old C | 2024-12-09 | 14:36 | 2024-12-09 | 10:59 | NINA | PRECI | 0.02 | 0.02 | / | / |  |  |  |  | 7.27 |  | 1 | Kinga |  | 3 | 1 | 93353
2 | 0.40 | 20 | P/Final | 2024-12-09 | 14:57 | 2024-12-09 | 10:59 | NINA | PRECI | 0.37 | 0.37 | / | / |  |  | 11.954 |  | 1.21 |  | 1 | Kinga |  | 3 | 2 | 93353
2 | 0.40 | 21 | P/Final | 2024-12-09 | 14:59 | 2024-12-09 | 10:59 | NINA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 2.87 | 381 | 1 | Kinga |  | 3 | 2 | 93353
3 | 1.25 | 22 | P/Final | 2024-12-09 | 15:04 | 2024-12-09 | 10:59 | NINA | PRECI | 1.18 | 1.18 | / | / |  |  |  |  | 1.15 | 387 | 1 | Brigitta P |  | 3 | 3 | 93353
3 | 1.25 | 23 | P/Final | 2024-12-09 | 15:06 | 2024-12-09 | 10:59 | NINA | PRECI | 1.17 | 1.17 | / | / |  |  | 11.903 |  | 1.68 | 378 | 1 | Brigitta P |  | 3 | 3 | 93353
4 | 2.10 | 24 | P/Final | 2024-12-09 | 15:11 | 2024-12-09 | 10:59 | NINA | PRECI | 2.02 | 2.02 | / | / |  |  |  |  | 1.19 | 373 | 1 | Brigitta P |  | 3 | 4 | 93353
4 | 2.10 | 25 | P/Final | 2024-12-09 | 15:16 | 2024-12-09 | 10:59 | NINA | PRECI | 2.01 | 2.01 | / | / |  |  | 11.986 |  | 1.20 |  | 1 | Brigitta P |  | 3 | 4 | 93353
1 | 0.00 | 26 | P/Final | 2024-12-09 | 15:26 | 2024-12-09 | 10:59 | NINA | PRECI | 0.02 | 0.02 | / | / |  |  | 11.956 |  | 1.15 |  | 1 | Brigitta P |  | 3 | 1 | 93353
1 | 0.00 | 27 | P/Final | 2024-12-09 | 15:37 | 2024-12-09 | 10:59 | NINA | PRECI | 0.01 | 0.01 | / | / |  |  | 11.859 |  | 3.89 |  | 1 | Brigitta P |  | 3 | 1 | 93353
2 | 0.40 | 28 | P/Final | 2024-12-09 | 16:14 | 2024-12-09 | 14:36 | FLORICA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 4.80 | 350 | 1 | Brigitta P |  | 3 | 2 | 93353
2 | 0.40 | 29 | P/Final | 2024-12-09 | 16:14 | 2024-12-09 | 14:36 | FLORICA | PRECI | 0.35 | 0.35 | / | / |  |  |  |  | 2.46 | 369 | 1 | Brigitta P |  | 3 | 2 | 93353
1 | 0.00 | 30 | P/Final | 2024-12-09 | 16:20 | 2024-12-09 | 14:36 | FLORICA | PRECI | 0.01 | 0.01 | / | / |  |  |  |  | 4.60 | 376 | 1 | Brigitta P |  | 3 | 1 | 93353
1 | 0.00 | 31 | P/Final | 2024-12-09 | 16:21 | 2024-12-09 | 14:36 | FLORICA | PRECI | 0.01 | 0.01 | / | / |  |  |  |  | 4.65 | 395 | 1 | Brigitta P |  | 3 | 1 | 93353
3 | 1.25 | 32 | P/Final | 2024-12-09 | 17:55 | 2024-12-09 | 14:36 | FLORICA | PRECI | 1.17 | 1.17 | / | / |  |  |  |  | 1.18 |  | 1 | Brigitta P |  | 3 | 1 | 93353
3 | 1.25 | 33 | P/Final | 2024-12-09 | 17:55 | 2024-12-09 | 14:36 | FLORICA | PRECI | 1.17 | 1.17 | / | / |  |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 1 | 93353
4 | 2.10 | 34 | P/Final | 2024-12-09 | 18:00 | 2024-12-09 | 14:36 | FLORICA | PRECI | 2.00 | 2.00 | / | / |  |  | 11.867 |  | 1.19 |  | 1 | Brigitta P |  | 3 | 1 | 93353
4 | 2.10 | 35 | P/Final | 2024-12-09 | 18:05 | 2024-12-09 | 14:36 | FLORICA | PRECI | 2.00 | 2.00 | / | / |  |  | 11.866 |  | 1.04 |  | 1 | Brigitta P |  | 3 | 1 | 93353
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.37 mg/L | 4 | 8 | 0.37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.17 mg/L | 4 | 8 | 1.17 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2.01 mg/L | 4 | 8 | 2.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.01 mg/L | 4 | 8 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.40 | 0.35 ÷ 0.45 | 0.37 | YES
1.25 | 1.17 ÷ 1.33 | 1.17 | YES
2.10 | 1.99 ÷ 2.21 | 2.01 | YES
Validation Date | by