## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784C-0
0951 | HI784C-0 | CP-R84 | W09/1 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent C | 2027-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2120 | 0873 | 0951
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2027-06-01 | 2027-08-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-27 | 2025-03-28 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 1.25 | 1.17 | 1.33 |  | MR09 |  | 0.03 | & | 5% | 80%
4 | 2.10 | 1.99 | 2.21 | [8 empty] | 12.10 | 12.0 | 12.20
2 | 0.40 | 0.35 | 0.45
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 1.25 | 1 | Valid | 2025-02-26 | 19:36 | 2025-02-26 |  | ERIKA |  | 1.17 | / | / | / |  |  | 12.032 |  | 0.52 | 410 | 1 | Brigitta P. |  | 3 | 3
3 | 1.25 | 2 | Valid | 2025-02-26 | 19:36 | 2025-02-26 |  | ERIKA |  | 1.18 | / | / | / |  |  | 12.030 |  | 0.63 | 405 | 1 | Brigitta P. |  | 3 | 3
3 | 1.25 | 3 | Valid | 2025-02-26 | 19:39 | 2025-02-26 |  | ERIKA |  | 1.18 | / | / | / |  |  | 12.053 |  | 0.53 | 408 | 1 | Brigitta P. |  | 3 | 3
4 | 2.10 | 4 | Valid | 2025-02-26 | 19:40 | 2025-02-26 |  | ERIKA |  | 1.99 | / | / | / |  |  | 12.032 |  | 0.42 | 406 | 1 | Brigitta P. |  | 3 | 4
4 | 2.10 | 5 | Valid | 2025-02-26 | 19:41 | 2025-02-26 |  | ERIKA |  | 2.00 | / | / | / |  |  | 11.976 |  | 0.50 | 408 | 1 | Brigitta P. |  | 3 | 4
4 | 2.10 | 6 | Valid | 2025-02-26 | 19:43 | 2025-02-26 |  | ERIKA |  | 2.00 | / | / | / |  |  | 11.968 |  | 0.68 | 404 | 1 | Brigitta P. |  | 3 | 4
2 | 0.40 | 7 | Valid | 2025-02-26 | 19:40 | 2025-02-26 |  | ERIKA |  | 0.38 | / | / | / |  |  | 11.960 |  | 0.97 | 411 | 1 | Brigitta P. |  | 3 | 4
2 | 0.40 | 8 | Valid | 2025-02-26 | 19:45 | 2025-02-26 |  | ERIKA |  | 0.38 | / | / | / |  |  | 11.978 |  | 0.91 | 401 | 1 | Brigitta P. |  | 3 | 4
2 | 0.40 | 9 | Valid | 2025-02-26 | 19:45 | 2025-02-26 |  | ERIKA |  | 0.38 | / | / | / |  |  | 12.100 |  | 0.89 | 405 | 1 | Brigitta P. |  | 3 | 4
1 | 0.00 | 10 | Valid | 2025-02-26 | 19:45 | 2025-02-26 |  | ERIKA |  | 0.03 | / | / | / |  |  | 12.605 |  | 0.99 | 404 | 1 | Brigitta P. |  | 3 | 4
1 | 0.00 | 11 | Valid | 2025-02-26 | 19:45 | 2025-02-26 |  | ERIKA |  | 0.03 | / | / | / |  |  |  |  | 1.07 | 409 | 1 | Kinga |  | 3 | 4
3 | 1.25 | 12 | P/Prod | 2025-02-27 | 17:02 | 2025-02-27 | 14:51 | FLORICA | PRECI | 1.20 | / | / | / |  |  | 11.930 |  | 1.13 | 412 | 1 | Brigitta P |  | 3 | 3 | 94516
3 | 1.25 | 13 | P/Prod | 2025-02-27 | 17:03 | 2025-02-27 | 14:51 | FLORICA | PRECI | 1.22 | / | / | / |  |  | 11.950 |  | 1.39 | 413 | 1 | Brigitta P |  | 3 | 3 | 94516
4 | 2.10 | 14 | P/Prod | 2025-02-27 | 17:04 | 2025-02-27 | 14:51 | FLORICA | PRECI | 2.03 | / | / | / |  |  | 11.990 |  | 0.90 | 413 | 1 | Brigitta P |  | 3 | 4 | 94516
4 | 2.10 | 15 | P/Prod | 2025-02-27 | 17:05 | 2025-02-27 | 14:51 | FLORICA | PRECI | 2.02 | / | / | / |  |  | 11.993 |  | 1.13 | 405 | 1 | Brigitta P |  | 3 | 4 | 94516
2 | 0.40 | 16 | P/Prod | 2025-02-27 | 17:07 | 2025-02-27 | 14:51 | FLORICA | PRECI | 0.45 | / | / | / |  |  | 11.998 |  | 2.49 | 404 | 1 | Brigitta P |  | 3 | 2 | 94516
2 | 0.40 | 17 | P/Prod | 2025-02-27 | 17:07 | 2025-02-27 | 14:51 | FLORICA | PRECI | 0.40 | / | / | / |  |  | 11.998 |  | 2.25 | 398 | 1 | Brigitta P |  | 3 | 2 | 94516
1 | 0.00 | 18 | P/Prod | 2025-02-27 | 17:08 | 2025-02-27 | 14:51 | FLORICA | PRECI | 0.03 | / | / | / |  |  | 12.000 |  | 2.23 | 404 | 1 | Brigitta P |  | 3 | 1 | 94516
4 | 2.10 | 19 | P/Prod | 2025-02-28 | 09:33 | 2025-02-28 | 06:52 | ANA | PRECI | 1.99 | / | / | / |  |  | 11.896 |  | 0.84 | 394 | 1 | Kinga |  | 3 | 4
4 | 2.10 | 20 | P/Prod | 2025-02-28 | 09:34 | 2025-02-28 | 06:52 | ANA | PRECI | 1.99 | / | / | / |  |  | 11.910 |  | 0.79 | 390 | 1 | Kinga |  | 3 | 4
3 | 1.25 | 21 | P/Prod | 2025-02-28 | 09:36 | 2025-02-28 | 06:52 | ANA | PRECI | 1.17 | / | / | / |  |  | 11.909 |  | 1.06 | 378 | 1 | Kinga |  | 3 | 3
3 | 1.25 | 22 | P/Prod | 2025-02-28 | 09:37 | 2025-02-28 | 06:52 | ANA | PRECI | 1.17 | / | / | / |  |  | 11.910 |  | 0.84 | 380 | 1 | Kinga |  | 3 | 3
2 | 0.40 | 23 | P/Prod | 2025-02-28 | 09:37 | 2025-02-28 | 06:52 | ANA | PRECI | 0.37 | / | / | / |  |  | 11.909 |  | 2.04 | 283 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 24 | P/Prod | 2025-02-28 | 09:38 | 2025-02-28 | 06:52 | ANA | PRECI | 0.37 | / | / | / |  |  | 11.934 |  | 1.69 | 383 | 1 | Kinga |  | 3 | 2
1 | 0.00 | 25 | P/Prod | 2025-02-28 | 09:39 | 2025-02-28 | 06:52 | ANA | PRECI | 0.00 | / | / | / |  |  | 11.940 |  | 2.31 | 390 | 1 | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 1.19 mg/L | 4 | 4 | 1.19 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 2.01 mg/L | 4 | 4 | 2.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0.4 mg/L | 4 | 4 | 0.4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 0.02 mg/L | 2 | 2 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.40 | 0.35 ÷ 0.45 | 0.40 | YES
1.25 | 1.17 ÷ 1.33 | 1.19 | YES
2.10 | 1.99 ÷ 2.21 | 2.01 | YES
Validation Date | by