## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week
0369 | HI770C-0 | R014 | 49/1
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent C | 2028-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
KRISZTINA | 2023-12-06 |  |  |  |  | 0145 | 0158
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2026-05-01 | 2028-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CT0-779 | HI801 | CTO-775
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 36 | 44 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 159 | 149 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 2 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old C | 2023-12-11 | 11:06 |  |  |  |  | 42 | 43 | / | / | 0.165 | 0.966 |  |  | 1.77 |  |  | DAVID |  | 3 | 2 | 123230 | OLD LOT HO39
2 | 40 | 2 | Old C | 2023-12-11 | 11:07 |  |  |  |  | 40 | 40 | / | / | 0.159 |  |  |  | 1.85 |  |  | DAVID |  | 3 | 2 | 123230
3 | 159 | 3 | Old C | 2023-12-11 | 11:09 |  |  |  |  | 168 | 167 | / | / | 0.587 | 1.076 |  |  | 1.43 |  |  | DAVID |  | 3 | 3 | 123230
2 | 40 | 4 | P/Final | 2023-12-11 | 11:20 | 2023-12-08 | 00:10 | ELENA | PRECI | 40 | 40 | / | / | 0.160 | 1.017 |  |  | 1.26 | 101 |  | DAVID |  | 3 | 2 | 123230
2 | 40 | 5 | P/Final | 2023-12-11 | 11:21 | 2023-12-08 | 00:10 | ELENA | PRECI | 42 | 43 | / | / | 0.165 |  |  |  | 1.25 | 96 |  | DAVID |  | 3 | 2 | 123230
3 | 159 | 6 | P/Final | 2023-12-11 | 11:27 | 2023-12-08 | 00:10 | ELENA | PRECI | 167 | 168 | / | / | 0.586 | 1.066 |  |  | 1.33 | 99 |  | DAVID |  | 3 | 3 | 123230
1 | 0 | 7 | P/Final | 2023-12-11 | 11:48 | 2023-12-08 | 00:10 | ELENA | PRECI | 0 | 0 | / | / | 0.011 | 0.925 |  |  | 1.52 | 102 |  | DAVID |  | 3 | 1 | DWA
1 | 0 | 8 | P/Final | 2023-12-11 | 11:48 | 2023-12-08 | 00:10 | ELENA | PRECI | 0 | 0 | / | / | 0.009 |  |  |  | 1.09 | 103 |  | DAVID |  | 3 | 1 | DWA
3 | 159 | 9 | P/Final | 2023-12-11 | 11:54 | 2023-12-08 | 00:10 | ELENA | PRECI | 169 | 170 | / | / | 0.592 |  |  |  | 1.29 |  |  | DAVID |  | 3 | 3 | 123230
3 | 159 | 10 | P/Final | 2023-12-11 | 11:56 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 169 | 169 | / | / | 0.590 | 1.036 |  |  | 1.06 | 100 |  | DAVID |  | 3 | 3 | 123230
3 | 159 | 11 | P/Final | 2023-12-11 | 11:57 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 169 | 170 | / | / | 0.591 |  |  |  | 1.07 | 98 |  | DAVID |  | 3 | 3 | 123230
1 | 0 | 12 | P/Final | 2023-12-11 | 12:02 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 0 | 0 | / | / | 0.010 | 0.965 |  |  | 1.30 | 101 |  | DAVID |  | 3 | 1 | DWA
1 | 0 | 13 | P/Final | 2023-12-11 | 12:03 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 0 | 0 | / | / | 0.007 |  |  |  | 1.27 | 94 |  | DAVID |  | 3 | 1 | DWA
2 | 40 | 14 | P/Final | 2023-12-11 | 12:15 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 40 | 40 | / | / | 0.157 | 0.995 |  |  | 0.94 | 97 |  | DAVID |  | 3 | 2 | 123230
2 | 40 | 15 | P/Final | 2023-12-11 | 12:16 | 2023-12-08 | 20:50 | EVA/DORINA | PRECI | 39 | 40 | / | / | 0.156 |  |  |  | 1.10 |  |  | DAVID |  | 3 | 2 | 123230
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 41 mg/L | 4 | 8 | 41 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 169 mg/L | 4 | 8 | 169 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 41 | YES
159 | 149 ÷ 169 | 169 | YES
Validation Date | by