## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week
0564 | HI93705B-0 | R014 | W19/1
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent B | 2029-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
EVELIN | 2024-05-08 | [5 empty] | 0435
[6 empty] | Expiration A | Expiration B | Expiration D
2029-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98713 | CTO-805
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR45 |  | 0.03 | & | 1% | 95% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.58 | 1.68 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2024-05-08 | 15:49 | 2024-05-08 |  | EVELIN |  | 0.43 | 0.42 | / | / | 0.117 |  |  |  | 1.75 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 2 | Valid | 2024-05-08 | 15:50 | 2024-05-08 |  | EVELIN |  | 0.41 | 0.42 | / | / | 0.112 |  |  | 1.424 | 0.46 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 3 | Valid | 2024-05-08 | 15:51 | 2024-05-08 |  | EVELIN |  | 0.41 | 0.41 | / | / | 0.110 |  |  |  | 0.58 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 4 | Valid | 2024-05-08 | 15:50 | 2024-05-08 |  | EVELIN |  | 0.43 | 0.40 | / | / | 0.117 |  |  | 1.428 | 0.34 |  |  | Brigitta P |  | 3 | 2
3 | 1.63 | 5 | Old B | 2024-05-08 | 16:05 | 2024-05-08 |  | EVELIN |  | 1.59 | 1.58 | / | / | 0.418 |  |  |  | 0.72 |  |  | Brigitta P |  | 3 | 3
3 | 1.63 | 6 | Valid | 2024-05-08 | 16:06 | 2024-05-08 |  | EVELIN |  | 1.61 | 1.59 | / | / | 0.422 |  |  | 1.482 | 0.72 |  |  | Brigitta P |  | 3 | 3
3 | 1.63 | 7 | Valid | 2024-05-08 | 16:06 | 2024-05-08 |  | EVELIN |  | 1.62 | 1.61 | / | / | 0.425 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 3
3 | 1.63 | 8 | Valid | 2024-05-08 | 16:05 | 2024-05-08 |  | EVELIN |  | 1.65 | 1.58 | / | / | 0.425 |  |  | 1.485 | 0.34 |  |  | Brigitta P |  | 3 | 3
3 | 1.63 | 9 | Old B | 2024-05-08 | 16:05 | 2024-05-08 |  | EVELIN |  | 1.58 | 1.58 | / | / | 0.415 |  |  |  | 0.36 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 10 | Valid | 2024-05-08 | 16:09 | 2024-05-08 |  | EVELIN |  | 0.02 | 0.01 | / | / | 0.005 |  |  | 1.562 | 0.56 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 11 | Valid | 2024-05-08 | 16:10 | 2024-05-08 |  | EVELIN |  | 0.03 | 0.00 | / | / | 0.007 |  |  |  | 0.88 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 12 | Valid | 2024-09-12 | 15:45 | 2024-05-08 |  | EVELIN |  |  |  | / | / | 0.007 | [6 empty] | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm]
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.00 | NO
1.63 | 1.58 ÷ 1.68 | 0.00 | NO
Validation Date | by