## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93701-KIO3 | HI93701-VAL
0325 | HI93701-0 | R025 | 44/4 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2025-11-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
KRISZ/EVELIN | 2023-11-03 | 2023-11-03 |  |  |  | 0318
[6 empty] | Expiration A | Expiration B | Expiration D
2025-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98713 | CTO-805
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.88 | 4.12 |  | MR67 |  | 0.03 | & | 2.25% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.95 | 1.05 | [8 empty] | / | / | /
1 | 0.00 | 0.00 | 0.03 | [8 empty] | / | / | /
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Old A | 2023-11-03 | 14:15 |  |  |  |  | 3.89 | 3.98 | / | / | 1.890 | 6.110 | / | / | 0.40 |  |  | Alla |  | 3 | 3 | 65112
3 | 4.00 | 2 | Old A | 2023-11-03 | 14:15 |  |  |  |  | 4.11 | 4.20 | / | / | 1.945 |  |  |  | 0.34 |  |  | Alla |  | 3 | 3 | 65112
3 | 4.00 | 3 | Valid | 2023-11-03 | 14:40 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 4.10 | 4.21 | / | / | 1.943 | 6.216 |  |  | 0.64 |  |  | Alla |  | 3 | 3 | 65112
3 | 4.00 | 4 | Valid | 2023-11-03 | 14:21 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 4.11 | 4.20 | / | / | 1.944 |  |  |  | 0.33 |  |  | Alla |  | 3 | 3 | 65112
3 | 4.00 | 5 | Valid | 2023-11-03 | 14:22 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 3.99 | 4.03 | / | / | 1.896 |  |  |  | 0.32 |  |  | Alla |  | 3 | 3 | 65112
2 | 1.00 | 6 | Old A | 2023-11-03 | 14:23 |  |  |  |  | 1.04 | 1.03 | / | / | 0.541 | 6.245 |  |  | 0.45 |  |  | Alla |  | 3 | 2 | 65112
2 | 1.00 | 7 | Old A | 2023-11-03 | 14:23 |  |  |  |  | 1.04 | 1.04 | / | / | 0.541 |  |  |  | 0.68 |  |  | Alla |  | 3 | 2 | 65112
2 | 1.00 | 8 | Valid | 2023-11-03 | 14:35 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 1.00 | 0.99 | / | / | 0.520 | 6.213 |  |  | 0.72 | 120 |  | Alla |  | 3 | 2 | 65112
2 | 1.00 | 9 | Valid | 2023-11-03 | 14:28 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 1.02 | 1.00 | / | / | 0.527 |  |  |  | 0.55 |  |  | Alla |  | 3 | 2 | 65112
2 | 1.00 | 10 | Valid | 2023-11-03 | 14:29 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 1.00 | 0.98 | / | / | 0.518 |  |  |  | 0.51 |  |  | Alla |  | 3 | 2 | 65112
1 | 0.00 | 11 | Valid | 2023-11-03 | 14:40 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 0.01 | 0.00 | / | / | 0.009 | 6.118 |  |  | 0.69 |  |  | Alla |  | 3 | 1
1 | 0.00 | 12 | Valid | 2023-11-03 | 14:32 | 2023-11-03 | 11:40 | Krisztina/Evelin |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.47 |  |  | Alla |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L