## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week
0327 | HI93757-0 | R035 | 45/1
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2025-11-01 | L57 Powder |  |  | Laboratory | Tablet #3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
| 2023-11-09 |  | 4 |  |  | 0293
[6 empty] | Expiration A | Expiration B | Expiration D
2025-10-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-618
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-779
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 1.60 | 1.54 | 1.66 |  | MR67 |  | 0.03 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
2 | 0.40 | 0.36 | 0.44 | [8 empty] | / | / | /
1 | 0.00 | 0.00 | 0.03 | [8 empty] | / | / | /
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | NOTE | phNumber | LOT | STD_ID
3 | 1.60 | 1 | Old A | 2023-11-10 | 11:10 |  |  |  |  | 1.61 | / | / | / | 1.207 | 6.032 |  |  | 1.13 |  |  | Alla |  | 3 |  | 61932
3 | 1.60 | 2 | Old A | 2023-11-10 | 10:52 |  |  |  |  | 1.62 | / | / | / | 1.214 |  |  |  | 0.97 |  |  | Alla |  | 3 |  | 61932
3 | 1.60 | 3 | P/Final | 2023-11-10 | 11:10 | 2023-11-09 | 12:42 | Florica | 4 | 1.60 | / | / | / | 1.200 | 6.012 |  |  | 1.62 |  |  | Alla |  | 3 |  | 61932
3 | 1.60 | 4 | P/Final | 2023-11-10 | 10:53 | 2023-11-09 | 12:42 | Florica | 4 | 1.54 | / | / | / | 1.163 |  |  |  | 1.34 |  |  | Alla |  | 3 |  | 61932
3 | 1.60 | 5 | P/Final | 2023-11-10 | 11:10 | 2023-11-09 | 14:35 | Roland | 4 | 1.57 | / | / | / | 1.181 | 5.941 |  |  | 0.36 |  |  | Alla |  | 3 |  | 61932
3 | 1.60 | 6 | P/Final | 2023-11-10 | 10:57 | 2023-11-09 | 14:35 | Roland | 4 | 1.60 | / | / | / | 1.202 |  |  |  | 0.49 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 7 | Old A | 2023-11-10 | 11:10 |  |  |  |  | 0.39 | / | / | / | 0.321 | 5.987 |  |  | 0.48 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 8 | Old A | 2023-11-10 | 11:00 |  |  |  |  | 0.39 | / | / | / | 0.318 |  |  |  | 1.01 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 9 | P/Final | 2023-11-10 | 11:15 | 2023-11-09 | 12:42 | Florica | 4 | 0.38 | / | / | / | 0.311 | 5.778 |  |  | 1.20 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 10 | P/Final | 2023-11-10 | 11:03 | 2023-11-09 | 14:35 | Florica | 4 | 0.38 | / | / | / | 0.313 |  |  |  | 1.15 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 11 | P/Final | 2023-11-10 | 11:15 | 2023-11-09 | 14:35 | Roland | 4 | 0.38 | / | / | / | 0.312 | 5.879 |  |  | 0.51 |  |  | Alla |  | 3 |  | 61932
2 | 0.40 | 12 | P/Final | 2023-11-10 | 11:05 | 2023-11-09 | 14:35 | Roland | 4 | 0.38 | / | / | / | 0.314 |  |  |  | 0.41 |  |  | Alla |  | 3 |  | 61932
1 | 0.00 | 13 | P/Final | 2023-11-10 | 11:15 | 2023-11-09 | 12:42 | Florica | 4 | 0.00 | / | / | / | 0.008 | 6.101 |  |  | 0.47 | 150;155;150;138 |  | Alla | 9.4% 8.2% 9.2% 9.2% | 3 |  | DWA
1 | 0.00 | 14 | P/Final | 2023-11-10 | 11:05 | 2023-11-09 | 12:42 | Florica | 4 | 0.00 | / | / | / | 0.012 |  |  |  | 0.62 |  |  | Alla | Vacuum 8/8 ok | 3 |  | DWA
1 | 0.00 | 15 | P/Final | 2023-11-10 | 11:15 | 2023-11-09 | 14:35 | Roland | 4 | 0.00 | / | / | / | 0.011 | 6.010 |  |  | 0.82 | 148;155;162;149 |  | Alla | 9.6% 9.1% 8.3% 9.0% | 3 |  | DWA
1 | 0.00 | 16 | P/Final | 2023-11-10 | 11:05 | 2023-11-09 | 14:35 | Roland | 4 | 0.00 | / | / | / | 0.018 |  |  |  | 0.47 |  |  | Alla | Vacuum 8/8 ok | 3 |  | DWA
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 0 | 0 | 0 mg/L