## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week
TEST | HI93746-0 | R054 | 06W/1
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron Low Range Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
260 | 250 | 270
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.600 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
KRISZTINA | 2024-02-07 |  |  |  |  | 0350
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-833 | HI97746 | CTO-655
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98713 | CTO-805 | HI801 | CTO-833
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.320 | 0.288 | 0.352 |  | MR33 |  | 0.010 | & | 7% | 100% |  | 2.9 | 2.7 | 3.1
3 | 1.280 | 1.180 | 1.380 | [8 empty] | / | / | /
1 | 0.000 | 0.000 | 0.010 | [8 empty] | / | / | /
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.320 | 1 | P/Final | 2024-02-07 | 12:59 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.299 | 0.280 | / | / | 0.202 |  |  |  | 1.03 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 2 | P/Final | 2024-02-07 | 13:00 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.296 | 0.200 | / | / | 0.200 |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 3 | P/Final | 2024-02-07 | 13:01 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.281 | 0.270 | / | / | 0.190 |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 4 | P/Final | 2024-02-07 | 13:01 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.290 | 0.280 | / | / | 0.196 |  |  |  | 0.90 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 5 | Old A | 2024-02-07 | 13:02 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.302 | 0.280 | / | / | 0.280 |  |  |  | 1.56 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 6 | Old A | 2024-02-07 | 13:03 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.299 | 0.280 | / | / | 0.202 |  |  |  | 1.62 |  |  | Brigitta P |  | 3 | 2 | 120735
3 | 1.280 | 7 | P/Final | 2024-02-07 | 13:03 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.293 | 1.120 | / | / | 0.863 |  |  |  | 1.12 |  |  | Brigitta P |  | 3 | 3 | 120735
3 | 1.280 | 8 | P/Final | 2024-02-07 | 13:04 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.273 | 1.200 | / | / | 0.852 | 2.810 |  |  | 1.80 |  |  | Brigitta P |  | 3 | 3 | 120735
3 | 1.280 | 9 | P/Final | 2024-02-07 | 13:34 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.302 | 1.220 | / | / | 0.877 |  |  |  | 1.60 |  |  | Brigitta P |  | 3 | 3 | 120735
3 | 1.280 | 10 | P/Final | 2024-02-07 | 13:34 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.270 | 1.210 | / | / | 0.850 |  |  |  | 1.54 |  |  | Brigitta P |  | 3 | 3 | 120735
2 | 0.320 | 11 | P/Final | 2024-02-07 | 13:39 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.315 | 0.300 | / | / | 0.215 | 2.774 |  |  | 1.53 |  |  | Brigitta P |  | 3 | 2 | 120735
2 | 0.320 | 12 | P/Final | 2024-02-07 | 13:39 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.315 | 0.300 | / | / | 0.213 |  |  |  | 1.66 |  |  | Brigitta P |  | 3 | 2 | 120735
3 | 1.280 | 13 | Old A | 2024-02-07 | 13:43 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.253 | 1.190 | / | / | 0.839 |  |  |  | 1.69 |  |  | Brigitta P |  | 3 | 3 | 120735
3 | 1.280 | 14 | Old A | 2024-02-07 | 13:45 | 2024-02-07 | 11:36 | KRISZTINA |  | 1.232 | 1.200 | / | / | 0.825 |  |  |  | 1.37 |  |  | Brigitta P |  | 3 | 3 | 120735
1 | 0.000 | 15 | Old A | 2024-02-07 | 13:49 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.000 | 0.000 | / | / | -0.003 |  |  |  | 1.48 |  |  | Brigitta P |  | 3 | 1 | 120735 | Meter 1: 0.000 blinking
1 | 0.000 | 16 | Old A | 2024-02-07 | 13:50 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.000 | 0.000 | / | / | -0.004 |  |  |  | 1.32 |  |  | Brigitta P |  | 3 | 1 | 120735 | Meter 1: 0.000 blinking
1 | 0.000 | 17 | P/Final | 2024-02-07 | 13:52 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.000 | 0.000 | / | / | -0.003 | 2.781 |  |  | 1.21 |  |  | Brigitta P |  | 3 | 1 | 120735 | Meter 1 : 0.000 blinking
1 | 0.000 | 18 | P/Final | 2024-02-07 | 13:52 | 2024-02-07 | 11:36 | KRISZTINA |  | 0.000 | 0.000 | / | / | -0.004 |  |  |  | 1.45 |  |  | Brigitta P |  | 3 | 1 | 120735 | Meter 1 : 0.000 blinking
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 0 | 0 | 0 mg/L