## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93750B-0
0615 | HI93750B-0 | R055 | W26/1 |  | Parameter Formula | K
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Potassium Reagent B | 2029-06-01 | L57 Powder |  |  | Laboratory | QC TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
110 | 100 | 120
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1026
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2025-10-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 200.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2024-06-28 | 2024-10-08 | PRECI |  |  | 0514
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97750 | CTO-652
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98703 | CTO-782
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 0.7 | 7.3 |  | MR107 |  | 3.0 | & | 7% | 100% |  | 4.0 | 3.8 | 4.2
3 | 16.0 | 11.9 | 20.1 | [8 empty] | 6.2 | 5.9 | 6.5
1 | 0.0 | 0.0 | 3.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97750 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old A | 2024-06-28 | 12:58 |  |  |  |  | 5.0 | 3.6 | / | / | 0.803 |  |  |  | 190 |  | 1 | David |  | 3 | 2 | 62559
3 | 16.0 | 2 | Old A | 2024-06-28 | 12:59 |  |  |  |  | 18.0 | 17.7 | / | / | 2.616 | [5 empty] | 1 | David |  | 3 | 3 | 62559
2 | 4.0 | 3 | Valid | 2024-06-28 | 13:01 |  |  |  |  | 5.5 | 4.2 | / | / | 0.984 |  |  |  | 232 |  | 1 | David |  | 3 | 2 | 62559
2 | 4.0 | 4 | Valid | 2024-06-28 | 13:02 |  |  |  |  | 5.5 | 4.3 | / | / | 0.998 |  |  |  | 236 |  | 1 | David |  | 3 | 2 | 62559
2 | 4.0 | 5 | Valid | 2024-06-28 | 13:03 |  |  |  |  | 5.5 | 4.2 | / | / | 0.987 |  |  |  | 244 |  | 1 | David |  | 3 | 2 | 62559
3 | 16.0 | 6 | Valid | 2024-06-28 | 13:05 |  |  |  |  | 18.0 | 18.4 | / | / | 2.666 | [5 empty] | 1 | David |  | 3 | 3 | 62559
3 | 16.0 | 7 | Valid | 2024-06-28 | 13:05 |  |  |  |  | 19.0 | 18.4 | / | / | 2.666 | [5 empty] | 1 | David |  | 3 | 3 | 62559
3 | 16.0 | 8 | Valid | 2024-06-28 | 13:06 |  |  |  |  | 17.0 | 16.5 | / | / | 2.570 | [5 empty] | 1 | David |  | 3 | 3 | 62559
1 | 0.0 | 9 | Valid | 2024-06-28 | 13:06 |  |  |  |  | 0.0 | 0.2 | / | / | 0.074 |  |  |  | 16.8 |  | 1 | David |  | 3 | 1 | 62559
1 | 0.0 | 10 | Valid | 2024-06-28 | 13:07 |  |  |  |  | 0.7 | 0.5 | / | / | 0.140 |  |  |  | 25.8 |  | 1 | David |  | 3 | 1 | 62559
1 | 0.0 | 11 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 0.0 | 0.2 | / | / | 0.140 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
1 | 0.0 | 12 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 0.0 | 0.2 | / | / | 0.140 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
2 | 4.0 | 13 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 5.5 | 4.2 | / | / | 0.987 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
2 | 4.0 | 14 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 5.5 | 4.3 | / | / | 0.996 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
3 | 16.0 | 15 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 18.0 | 18.4 | / | / | 2.666 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
3 | 16.0 | 16 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 18.0 | 17.7 | / | / | 2.666 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
3 | 16.0 | 17 | P/Final | 2024-09-05 | 21:20 | 2024-09-04 | 17:30 | FLORICA | PRECI | 18.0 | 17.7 | / | / | 2.666 | [5 empty] | 1 | Monika |  | 3 | 1 | 62559
1 | 0.0 | 18 | P/Prod | 2024-09-06 | 13:50 | 2024-09-05 | 14:25 | FLORICA | PRECI | 0.0 | 0.0 | / | / | [6 empty] | 1 | Monika |  | 3 | 1
1 | 0.0 | 19 | P/Final | 2024-09-06 | 13:50 | 2024-09-05 | 14:25 | FLORICA | PRECI | 0.0 | 0.0 | / | / | 0.004 | [5 empty] | 1 | Monika |  | 3 | 1
2 | 4.0 | 20 | P/Final | 2024-09-06 | 13:50 | 2024-09-05 | 14:25 | FLORICA | PRECI | 5.0 | 3.8 | / | / | 0.826 | [5 empty] | 1 | Monika |  | 3 | 2
2 | 4.0 | 21 | P/Final | 2024-09-06 | 13:51 | 2024-09-05 | 14:25 | FLORICA | PRECI | 5.0 | 3.8 | / | / | 0.846 | [5 empty] | 1 | Monika |  | 3 | 2
2 | 4.0 | 22 | P/Final | 2024-09-06 | 13:51 | 2024-09-05 | 14:25 | FLORICA | PRECI | 5.0 | 3.7 | / | / | [6 empty] | 1 | Monika |  | 3 | 2
2 | 4.0 | 23 | P/Final | 2024-09-06 | 13:50 | 2024-09-05 | 14:25 | FLORICA | PRECI | 5.0 | 3.7 | / | / | [6 empty] | 1 | Monika |  | 3 | 2
3 | 16.0 | 24 | P/Final | 2024-09-06 | 13:57 | 2024-09-06 | 14:25 | FLORICA | PRECI | 17.0 | 16.4 | / | / | 2.568 | [5 empty] | 1 | Monika |  | 3 | 3
3 | 16.0 | 25 | P/Final | 2024-09-06 | 13:57 | 2024-09-06 | 14:25 | FLORICA | PRECI | 17.5 | 16.8 | / | / | 2.594 | [5 empty] | 1 | Monika |  | 3 | 3
3 | 16.0 | 26 | P/Final | 2024-09-06 | 14:00 | 2024-09-06 | 14:25 | FLORICA | PRECI | 18.0 | 17.2 | / | / | 2.611 | [5 empty] | 1 | Monika |  | 3 | 3
3 | 16.0 | 27 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 18.0 | 17.2 | / | / | 2.611 | [5 empty] | 1 | Brigitta P |  | 3 | 3
3 | 16.0 | 28 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 18.0 | 17.7 | / | / | 2.611 | [5 empty] | 1 | Brigitta P |  | 3 | 3
3 | 16.0 | 29 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 17.0 | 16.5 | / | / | 2.570 | [5 empty] | 1 | Brigitta P |  | 3 | 3
2 | 4.0 | 30 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 5.0 | 3.8 | / | / | 0.826 | [5 empty] | 1 | Brigitta P |  | 3 | 3
2 | 4.0 | 31 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 5.0 | 3.8 | / | / | 0.830 | [5 empty] | 1 | Brigitta P |  | 3 | 3
2 | 4.0 | 32 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 5.0 | 3.6 | / | / | 0.803 | [5 empty] | 1 | Brigitta P |  | 3 | 3
1 | 0.0 | 33 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 0.0 | 0.0 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 3
1 | 0.0 | 34 | P/Final | 2024-09-06 | 21:20 | 2024-09-06 | 14:35 | FLORICA | PRECI | 0.0 | 0.0 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.5 mg/L | 9 | 18 | 4.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 17.5 mg/L | 9 | 18 | 17.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 3.0 | 0.0 | YES
4.0 | 0.7 ÷ 7.3 | 4.5 | YES
16.0 | 11.9 ÷ 20.1 | 17.5 | YES
Validation Date | by