## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI95762-VAL | ULR CL Free-KIO3 | ULR CL Free-VAL
0333 | HI95762-0 | R062 | 45/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2025-11-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
0219
[6 empty] | Expiration A | Expiration B | Expiration D
2025-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97762 | CTO-697
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-777
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 0.400 | 0.370 | 0.430 |  | MR67 |  | 0.010 | & | 5% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.085 | 0.115 | [8 empty] | / | / | /
1 | 0.000 | 0.000 | 0.010 | [8 empty] | / | / | /
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97762 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | NOTE | phNumber | LOT | STD_ID
3 | 0.400 | 1 | Old A | 2023-11-10 | 12:00 |  |  |  |  | 0.385 | 0.381 | / | / | 0.211 | 6.181 | / | / | 0.90 |  |  | Alla |  | 3 |  | 61202
3 | 0.400 | 2 | Old A | 2023-11-10 | 11:44 |  |  |  |  | 0.375 | 0.381 | / | / | 0.206 |  |  |  | 1.34 |  |  | Alla |  | 3 |  | 61202
3 | 0.400 | 3 | Valid | 2023-11-10 | 12:00 | 2023-11-09 | 11:20 | Krisztina |  | 0.393 | 0.393 | / | / | 0.215 | 5.947 |  |  | 0.26 | 118 |  | Alla |  | 3 |  | 61202
3 | 0.400 | 4 | Valid | 2023-11-10 | 11:49 | 2023-11-09 | 11:20 | Krisztina |  | 0.393 | 0.393 | / | / | 0.215 |  |  |  | 0.26 |  |  | Alla |  | 3 |  | 61202
3 | 0.400 | 5 | Valid | 2023-11-10 | 11:49 | 2023-11-09 | 11:20 | Krisztina |  | 0.395 | 0.393 | / | / | 0.216 |  |  |  | 0.40 |  |  | Alla |  | 3 |  | 61202
2 | 0.100 | 6 | Old A | 2023-11-10 | 12:05 |  |  |  |  | 0.094 | 0.089 | / | / | 0.055 | 6.173 |  |  | 0.56 |  |  | Alla |  | 3 |  | 61202
2 | 0.100 | 7 | Old A | 2023-11-10 | 11:53 |  |  |  |  | 0.090 | 0.092 | / | / | 0.053 |  |  |  | 0.77 |  |  | Alla |  | 3 |  | 61202
2 | 0.100 | 8 | Valid | 2023-11-10 | 11:56 | 2023-11-09 | 11:20 | Krisztina |  | 0.099 | 0.100 | / | / | 0.058 |  |  |  | 0.80 |  |  | Alla |  | 3 |  | 61202
2 | 0.100 | 9 | Valid | 2023-11-10 | 12:05 | 2023-11-09 | 11:20 | Krisztina |  | 0.101 | 0.100 | / | / | 0.059 | 6.218 |  |  | 0.44 |  |  | Alla |  | 3 |  | 61202
2 | 0.100 | 10 | Valid | 2023-11-10 | 11:57 | 2023-11-09 | 11:20 | Krisztina |  | 0.099 | 0.109 | / | / | 0.058 |  |  |  | 0.57 |  |  | Alla |  | 3 |  | 61202
1 | 0.000 | 11 | Valid | 2023-11-10 | 12:05 | 2023-11-09 | 11:20 | Krisztina |  | 0.004 | 0.004 | / | / | 0.007 | 6.105 |  |  | 0.34 |  |  | Alla |  | 3 |  | DWA
1 | 0.000 | 12 | Valid | 2023-11-10 | 12:01 | 2023-11-09 | 11:20 | Krisztina |  | 0.004 | 0.004 | / | / | 0.003 |  |  |  | 0.24 |  |  | Alla |  | 3 |  | DWA
3 | 0.400 | 13 | Old A | 2023-11-14 | 10:00 |  |  |  |  | 0.379 | 0.375 | / | / | 0.208 |  | / | / | 0.81 |  |  | Brigitta P |  | 3
2 | 0.100 | 14 | Old A | 2023-11-14 | 10:01 |  |  |  |  | 0.096 | 0.091 | / | / | 0.056 |  |  |  | 1.33 |  |  | Brigitta P |  | 3
2 | 0.100 | 15 | P/Final | 2023-11-14 | 13:07 | 2023-11-13 | 07:20 | IRINA | 1 | 0.101 | 0.099 | / | / | 0.059 | 5.948 |  |  | 0.70 |  |  | Brigitta P |  | 3 |  | 94312
2 | 0.100 | 16 | P/Final | 2023-11-14 | 13:07 | 2023-11-13 | 07:20 | IRINA | 1 | 0.108 | 0.099 | / | / | 0.0063 |  |  |  | 0.057 |  |  | Brigitta P |  | 3 |  | 94312
2 | 0.100 | 17 | P/Final | 2023-11-14 | 13:08 | 2023-11-13 | 07:20 | IRINA | 1 | 0.104 | 0.099 | / | / | 0.0061 |  |  |  | 0.62 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 18 | P/Final | 2023-11-14 | 13:08 | 2023-11-13 | 07:20 | IRINA | 1 | 0.399 | 0.400 | / | / | 0.218 |  |  |  | 0.76 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 19 | P/Final | 2023-11-14 | 13:09 | 2023-11-13 | 07:20 | IRINA | 1 | 0.399 | 0.398 | / | / | 0.218 | 6.067 |  |  | 0.40 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 20 | P/Final | 2023-11-14 | 13:09 | 2023-11-13 | 07:20 | IRINA | 1 | 0.402 | 0.400 | / | / | 0.220 |  |  |  | 0.36 |  |  | Brigitta P |  | 3 |  | 94312
1 | 0.000 | 21 | P/Final | 2023-11-14 | 13:10 | 2023-11-13 | 07:20 | IRINA | 1 | 0.008 | 0.004 | / | / | 0.006 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 |  | 94312
1 | 0.000 | 22 | P/Final | 2023-11-14 | 13:10 | 2023-11-13 | 07:20 | IRINA | 1 | 0.007 | 0.005 | / | / | 0.005 | 5.856 |  |  | 0.75 |  |  | Brigitta P |  | 3 |  | 94312
2 | 0.100 | 23 | P/Final | 2023-11-14 | 13:14 | 2023-11-10 | 19:10 | IRINA | 1 | 0.101 | 0.098 | / | / | 0.059 | 6.009 |  |  | 0.47 |  |  | Brigitta P |  | 3 |  | 94312
2 | 0.100 | 24 | P/Final | 2023-11-14 | 13:14 | 2023-11-10 | 19:10 | IRINA | 1 | 0.103 | 0.098 | / | / | 0.060 |  |  |  | 0.68 |  |  | Brigitta P |  | 3 |  | 94312
2 | 0.100 | 25 | P/Final | 2023-11-14 | 13:14 | 2023-11-10 | 19:10 | IRINA | 1 | 0.100 | 0.098 | / | / | 0.059 |  |  |  | 0.60 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 26 | P/Final | 2023-11-14 | 13:15 | 2023-11-10 | 19:10 | IRINA | 1 | 0.420 | 0.400 | / | / | 0.230 | 6.012 |  |  | 0.90 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 27 | P/Final | 2023-11-14 | 13:16 | 2023-11-10 | 19:10 | IRINA | 1 | 0.401 | 0.390 | / | / | 0.219 |  |  |  | 1.11 |  |  | Brigitta P |  | 3 |  | 94312
3 | 0.400 | 28 | P/Final | 2023-11-14 | 13:16 | 2023-11-10 | 19:10 | IRINA | 1 | 0.410 | 0.396 | / | / | 0.224 |  |  |  | 0.78 |  |  | Brigitta P |  | 3 |  | 94312
1 | 0.000 | 29 | P/Final | 2023-11-14 | 13:16 | 2023-11-10 | 19:10 | IRINA | 1 | 0.004 | 0.003 | / | / | 0.000 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 |  | 94312
1 | 0.000 | 30 | P/Final | 2023-11-14 | 13:17 | 2023-11-10 | 19:10 | IRINA | 1 | 0.007 | 0.005 | / | / | 0.000 |  |  |  | 0.68 |  |  | Brigitta P |  | 3 |  | 94312
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 0 | 0 | 0 mg/L