## PREP_CP-B018.L56.CTK
Preparation
Recipe | CP-B018 | Line | L56 CTK | Procedure |  | Rev | 0.2 | Exp | 2
Description | 0 NTU TURBIDITY CALIBRATION STANDARD | Density | 1 | MaxQty | 30L | MinQty | 15L | Multiple | 15 | Mix | CP-B018
Recipe by | Dan | Preparation Date | 2025-02-24 | # Preparation Week | 1
Planned Preparation Week | 8/2025 | Preparation Week | 9/2025 | Planning Reference | n2-back
Note |  | Operator | ana | Exp Date | 02/2027
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 100% | 30000 | 30000 | 0 | -100% | 100%
TotalWeight (Kg) | 30 | Real Weight (Kg) | 30 | Variance (Kg) | 0 | Variance Perc | 0%
TotalWeight (L) | 30 | Real Weight (L) | 30 | Variance (L) | 0 | Variance Perc | 0%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 30000 | Hanna Instruments | DW-A | 20250224 | [5 empty] | ana | 2025-02-24 10:59
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
FNU0-0 | Turbidity Calibration Standard | L56 CTK | 30 | ml |  | 2304
HI93102-0-0 | 0 NTU Turbidity Calibration Standard | L56 CTK | 30 | ml |  | 2304
HI93124-0-0 | 0 EBC Haze Calibration Standard | L56 CTK | 30 | ml |  | 2304
HI93703-0-0 | 0 FTU Turbidity Calibration Standard | L56 CTK | 30 | ml | 1000 | 2304
Preparation Notes
Date | Type | Description | Operator