## PREP_CP-B019.L56.CTK
Preparation
Recipe | CP-B019 | Line | L56 CTK | Procedure |  | Rev | 0.3 | Exp | 2
Description | 2.5 EBC HAZE CALIBRATION STANDARD | Density | 1 | MaxQty | 30L | MinQty | 15L | Multiple | 15 | Mix | CP-B019
Recipe by | Dan | Preparation Date | 2025-03-13 | # Preparation Week | 1
Planned Preparation Week | 11/2025 | Preparation Week | 11/2025 | Planning Reference | n2-020
Note |  | Operator | ana | Exp Date | 03/2027
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
HI93703-4000 |  |  | 0.2% | 120 | 117.4 | -2.6 | -2.21% | 0.1867% |  | X
AMCO-0ISO |  |  | 99.8% | 59880 | 62780 | 2900 | 4.62% | 99.81% |  | X
TotalWeight (Kg) | 60 | Real Weight (Kg) | 62.897 | Variance (Kg) | 2.897 | Variance Perc | 4.83%
TotalWeight (L) | 60 | Real Weight (L) | 62.897 | Variance (L) | 2.897 | Variance Perc | 4.83%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 1291.3 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-03-13 13:22
AMCO-0ISO |  |  | 3535.6 | Hanna Instruments | AMCO-0ISO | 24016918 |  |  | W1 | 35/40 |  | ana | 2025-03-13 13:27
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3728.4 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:29
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3768.8 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:31
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3732.5 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:32
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3781 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:33
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3777 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:34
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3757 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:36
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3730.4 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:37
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3763 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:38
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3762 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 13:39
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3754.3 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:11
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3752.2 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:12
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3735 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:13
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3778 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:15
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3760 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:16
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 2473.5 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-13 14:19
HI93703-4000 | Amco clear turbidity std 4000 NTU |  | 117.4 | GFS | 8032 | 24011395 | 2024.11.20 | 1 | 2025-11-01 | 11/2025 |  | ana | 2025-03-13 14:26
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 1500 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-14 09:23
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 1400 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-14 12:50
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
FNU10-0 | Turbidity Calibration Standard | L56 CTK | 30 | ml |  | 2347
HI93124-1-0 | 2.5 EBC Haze Calibration Standard | L56 CTK | 30 | ml |  | 2347
HI93703-10-0 | 10 FTU Turbidity Calibration Standard | L56 CTK | 30 | ml | 2000 | 2347
Preparation Notes
Date | Type | Description | Operator
2025-03-13 | Issue | Din start s-a adaugat cu -2.17%HI93703-4000 | ana
2025-03-14 | Issue | QC a dat mare 10.54 si s-a corectat cu 1500g AMCO-OISO | ana