## PREP_CP-B019.L56.CTK
Preparation
Recipe | CP-B019 | Line | L56 CTK | Procedure |  | Rev | 0.3 | Exp | 2
Description | 2.5 EBC HAZE CALIBRATION STANDARD | Density | 1 | MaxQty | 30L | MinQty | 15L | Multiple | 15 | Mix | CP-B019
Recipe by | Dan | Preparation Date | 2025-02-24 | # Preparation Week | 1
Planned Preparation Week | 8/2025 | Preparation Week | 9/2025 | Planning Reference | n2-back
Note |  | Operator | ana | Exp Date | 02/2027
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
HI93703-4000 |  |  | 0.2% | 72 | 70.4 | -1.6 | -2.27% | 0.1956% |  | X
AMCO-0ISO |  |  | 99.8% | 35928 | 35928 | 0 | 0% | 99.8% |  | X
TotalWeight (Kg) | 36 | Real Weight (Kg) | 35.998 | Variance (Kg) | -0.002 | Variance Perc | 0%
TotalWeight (L) | 36 | Real Weight (L) | 35.998 | Variance (L) | -0.002 | Variance Perc | 0%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3181.9 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:23
AMCO-0ISO | 1 |  | 3728 | USA3520 | 2025-01-03 | 30/40 | 25010300001 | 2025-12-30 | 2025-12-30 | 2025-12-30 |  | ana | 2025-02-24 13:24
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3746.3 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:25
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3726.7 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:26
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3748 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:27
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3747.2 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:29
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3749 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:31
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3750.6 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:32
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 3759 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:33
AMCO-0ISO | Amco clear turbidity std 0.0 NTU |  | 2791.3 | GFS | 8000 | 24016918 | 2025.01.03 | 1 | 2025.11.30 | 2025.11.30 |  | ana | 2025-02-24 13:37
HI93703-4000 | Amco clear turbidity std 4000 NTU |  | 69.5 | GFS | 8032 | 24006866 | 2024.04.24 | 1 | 2025-08-01 | 08/2025 |  | ana | 2025-02-24 13:55
HI93703-4000 | Amco clear turbidity std 4000 NTU |  | 0.9 | GFS | 8032 | 24006866 | 2024.04.24 | 1 | 2025-08-01 | 08/2025 |  | ana | 2025-02-25 08:33
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
FNU10-0 | Turbidity Calibration Standard | L56 CTK | 30 | ml | 200 | 2305
HI93124-1-0 | 2.5 EBC Haze Calibration Standard | L56 CTK | 30 | ml |  | 2305
HI93703-10-0 | 10 FTU Turbidity Calibration Standard | L56 CTK | 30 | ml | 1000 | 2305
Preparation Notes
Date | Type | Description | Operator
2025-02-24 | Issue | Din start s-a adaugat cu -3.5%HI93703-4000 | ana
2025-02-25 | Issue | QC a dat ok da a dat in partea de jos si s-a mai corectat cu 0.9g HI93703-4000 | ana