## PREP_CP-B020.L56.CTK
Preparation
Recipe | CP-B020 | Line | L56 CTK | Procedure |  | Rev | 0.3 | Exp | 2
Description | 125 EBC Haze Calibration Standard | Density | 1 | MaxQty | 30L | MinQty | 15L | Multiple | 15 | Mix | CP-B020
Recipe by | Dan | Preparation Date | 2025-03-21 | # Preparation Week | 1
Planned Preparation Week | 12/2025 | Preparation Week | 12/2025 | Planning Reference | n2-sh
Note |  | Operator | ana | Exp Date | 03/2027
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
HI93703-4000 |  |  | 10.5% | 693 | 693 | 0 | 0% | 9.971% |  | X
AMCO-0ISO |  |  | 89.5% | 5907 | 6257 | 350 | 5.59% | 90.03% |  | X
TotalWeight (Kg) | 6.6 | Real Weight (Kg) | 6.95 | Variance (Kg) | 0.35 | Variance Perc | 5.3%
TotalWeight (L) | 6.6 | Real Weight (L) | 6.95 | Variance (L) | 0.35 | Variance Perc | 5.3%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
HI93703-4000 | Amco clear turbidity std 4000 NTU |  | 693 | GFS | 8032 | 24011395 | 2024.09.17 | 1 | 2025-08-01 | 08/2025 |  | ana | 2025-03-21 11:27
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 3743 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-21 11:30
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 2164 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-21 11:35
AMCO-0ISO | Amco clear turbidity std 0 NTU |  | 350 | GFS | 8000 | 24016918 | 2025.01.22 | 1 | 2025-12-01 | 12/2025 |  | ana | 2025-03-24 09:14
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
FNU500-0 | Turbidity Calibration Solution | L56 CTK | 30 | ml | 220 | 2375
HI93124-2-0 | 125 EBC Haze Calibration Standard | L56 CTK | 30 | ml |  | 2375
HI93703-05-0 | 500 FTU Turbidity Calibration Standard | L56 CTK | 30 | ml |  | 2375
Preparation Notes
Date | Type | Description | Operator
2025-03-24 | Issue | QC a dat mare si s-a corectat cu +350g AMCO-OISO | ana