## PREP_CP-B061.L56.CTK
Preparation
Recipe | CP-B061 | Line | L56 CTK | Procedure |  | Rev | 0.3 | Exp | 3
Description | Hardness HR Reagent | Density | 1.1433 | MaxQty | 50L | MinQty | 20L | Multiple | 20 | Mix | B061-A
Recipe by | Dan | Preparation Date | 2025-02-17 | # Preparation Week | 1
Planned Preparation Week | 7/2025 | Preparation Week | 8/2025 | Planning Reference | n2-sh
Note |  | Operator | ana | Exp Date | 02/2028
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
B061-A | Buffer Solution B for CP-B061 |  | 27.38% | 1878.453 | 1879 | 0.547 | 0.03% | 27.39% |  | X
B061-B | EDTA Solution B for CP-B061 |  | 70.47% | 4834.163 | 4834 | -0.163 | 0% | 70.46% |  | X
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 2.146% | 147.184 | 147.2 | 0.016 | 0.01% | 2.146%
TotalWeight (Kg) | 6.86 | Real Weight (Kg) | 6.86 | Variance (Kg) | 0 | Variance Perc | 0.01%
TotalWeight (L) | 6 | Real Weight (L) | 6 | Variance (L) | 0 | Variance Perc | 0.01%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 147.2 | Hanna Instruments | DW-A | 20250217 | [5 empty] | ana | 2025-02-17 15:51
B061-A | Buffer Solution B for CP-B061 |  | 1879 | Hanna Instruments | B061-A | 2289 | [5 empty] | ana | 2025-02-18 09:46
B061-B | EDTA Solution B for CP-B061 |  | 4834 | Hanna Instruments | B061-B | 2290 | [5 empty] | ana | 2025-02-18 09:46
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
HI3842-0 | Hardness High Range Reagent | L56 CTK | 30 | ml | 200 | 2291
Preparation Notes
Date | Type | Description | Operator
2025-02-18 | Issue | QC a dat mare si s-a corectat cu 24.6g (2%) CM148 | ana
2025-02-19 | Issue | QC a dat tot mare si s-a mai corectat cu +8%CM 148 | ana
2025-02-20 | Issue | QC a dat tot mare si s-a mai corectat cu +10% 123g CM148 | ana