## PREP_CP-B130.L56.CTK
Preparation
Recipe | CP-B130 | Line | L56 CTK | Procedure |  | Rev | 0.2 | Exp | 5
Description | Sulfur Dioxide Calibration Standard | Density | 1.002 | MaxQty | 120L | MinQty | 60L | Multiple | 60 | Mix | CP-B130
Recipe by | Dan | Preparation Date | 2025-03-24 | # Preparation Week | 1
Planned Preparation Week | 12/2025 | Preparation Week | 13/2025 | Planning Reference | n2-0
Note |  | Operator | ana | Exp Date | 03/2030
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 99.5% | 59819.46 | 59800 | -19.46 | -0.03% | 99.49%
CM333 | SODIUM THIOSULFATE 99% | 7772-98-7 | 0.4899% | 294.528 | 300 | 5.472 | 1.82% | 0.4991%
RMC0043 | SODIUM HYDROXIDE 97% | 1310-73-2 | 0.01% | 6.012 | 6 | -0.012 | -0.2% | 9.9824e-05
TotalWeight (Kg) | 60.12 | Real Weight (Kg) | 60.106 | Variance (Kg) | -0.014 | Variance Perc | -0.02%
TotalWeight (L) | 60 | Real Weight (L) | 59.986 | Variance (L) | -0.014 | Variance Perc | -0.02%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 59800 | Hanna Instruments | DW-A | 20250324 | [5 empty] | ana | 2025-03-24 13:22
RMC0043 | SODIUM HYDROXIDE | 1310-73-2 | 6 | TITOLCHIMICA | TC72999-V3782 | 21411415 | 2025.01.17 | 25000 | 2029.12.30 | 2029.12.30 |  | ana | 2025-03-24 13:25
CM333 | SODIUM THIOSULFATE | 7772-98-7 | 294.5 | VWR | 84852.29 | 24E274106 | 2025.01.20 | 1000 | 2028.06.27 | 2028.06.27 |  | ana | 2025-03-24 13:27
CM333 | SODIUM THIOSULFATE | 7772-98-7 | 4.7 | VWR | 84852.29 | 24E274106 | 2025.01.20 | 1000 | 2028.06.27 | 2028.06.27 |  | ana | 2025-03-25 13:14
CM333 | SODIUM THIOSULFATE | 7772-98-7 | 0.8 | VWR | 84852.29 | 24E274106 | 2025.01.20 | 1000 | 2028.06.27 | 2028.06.27 |  | ana | 2025-03-25 13:14
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
HI84500-55-0 | Sulfur Dioxide Calibration Standard | L56 CTK | 120 | ml | 500 | 2378
Preparation Notes
Date | Type | Description | Operator
2025-03-25 | Issue | QC a dat mare 20.318 s-a corecta cu 4,7g CM333, qc a dat mare 20.066 si s-a mai corectat cu 0.8g CM333 | ana