## PREP_CP-B149.L56.CTK
Preparation
Recipe | CP-B149 | Line | L56 CTK | Procedure |  | Rev | 0.2 | Exp | 4
Description | Magnesium/Calcium Reagent A | Density | 1 | MaxQty | 30L | MinQty | 5L | Multiple | 5 | Mix
Recipe by | vianello | Preparation Date | 2025-03-31 | # Preparation Week | 2
Planned Preparation Week | 13/2025 | Preparation Week | 14/2025 | Planning Reference | n2-sh
Note |  | Operator | ana | Exp Date | 03/2029
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 99.73% | 7479.75 | 10846 | 3366.25 | 31.04% | 99.81%
CM165 | CALMAGITE INDICATOR GRADE | 3147-14-6 | 0.27% | 20.25 | 20.3 | 0.05 | 0.25% | 0.1868%
TotalWeight (Kg) | 7.5 | Real Weight (Kg) | 10.866 | Variance (Kg) | 3.366 | Variance Perc | 44.88%
TotalWeight (L) | 7.5 | Real Weight (L) | 10.866 | Variance (L) | 3.366 | Variance Perc | 44.88%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
CM165 | Calmagite indicator 250 g | 3147-14-6 | 20.3 | SIGMA ALDRICH | C204-1KG-A | BCCJ1353 | 2023.03.20 | 2000g | W20 | 2/2 |  | ana | 2025-03-31 07:43
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 7480 | Hanna Instruments | DW-A | 20250331 | [5 empty] | ana | 2025-03-31 07:55
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 3366 | Hanna Instruments | DW-A | 20250404 | [5 empty] | ana | 2025-04-04 08:19
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
HI719A-0 | Magnesium Hardness Reagent A | L56 CTK | 27 | ml |  | 2396
HI720A-0 | Calcium Hardness Reagent A | L56 CTK | 27 | ml |  | 2396
HI93719A-0 | Magnesium Hardness Reagent A | L56 CTK | 25 | ml | 300 | 2396
HI93720A-0 | Calcium Hardness Reagent A | L56 CTK | 25 | ml |  | 2396
Preparation Notes
Date | Type | Description | Operator
2025-04-04 | Issue | QC a dat mare si s-a corectat cu +45% DW | ana