## PREP_CP-B156.L56.CTK
Preparation
Recipe | CP-B156 | Line | L56 CTK | Procedure |  | Rev | 1.6 | Exp | 3
Description | Hardness HR Reagent A | Density | 1.002 | MaxQty | 300L | MinQty | 50L | Multiple | 50 | Mix | EDTA 0.1
Recipe by | Dan | Preparation Date | 2025-04-02 | # Preparation Week | 1
Planned Preparation Week | 13/2025 | Preparation Week | 14/2025 | Planning Reference | n2
Note |  | Operator | ana | Exp Date | 04/2030
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
CM315 | 2-AMINO-2-METHYL-1-PROPANOL 95% | 124-68-5 | 2.913% | 8756.478 | 8756.5 | 0.022 | 0% | 2.918%
MS-EDTA4Na | EDTA TetraSodium 0.01 M |  | 2.553% | 7673.416 | 7136.3 | -537.116 | -7.53% | 2.378% | Checked by titration | X
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 94.53% | 284170.106 | 284170 | -0.106 | 0% | 94.7%
TotalWeight (Kg) | 300.6 | Real Weight (Kg) | 300.063 | Variance (Kg) | -0.537 | Variance Perc | -0.18%
TotalWeight (L) | 300 | Real Weight (L) | 299.464 | Variance (L) | -0.536 | Variance Perc | -0.18%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 284170 | Hanna Instruments | DW-A | 20250402 | [5 empty] | ana | 2025-04-02 09:56
CM315 | 2-Amino-2-metyl-1-propanol, 95% 2500 mL | 124-68-5 | 2191 | Titolchimica | TC63518RR3782 | 21104404 | 2025.01.17 | 2500 | 2027.05.30 | 2027.05.30 |  | ana | 2025-04-02 11:08
CM315 | 2-Amino-2-metyl-1-propanol, 95% 2500 mL | 124-68-5 | 2174 | Titolchimica | TC63518RR3782 | 21104404 | 2025.01.17 | 2500 | 2027.05.30 | 2027.05.30 |  | ana | 2025-04-02 11:10
CM315 | 2-Amino-2-metyl-1-propanol, 95% 2500 mL | 124-68-5 | 2283.3 | Titolchimica | TC63518RR3782 | 21104404 | 2025.01.17 | 2500 | 2027.05.30 | 2027.05.30 |  | ana | 2025-04-02 11:12
CM315 | 2-Amino-2-metyl-1-propanol, 95% 2500 mL | 124-68-5 | 2108.2 | Titolchimica | TC63518RR3782 | 21104404 | 2025.01.17 | 2500 | 2027.05.30 | 2027.05.30 |  | ana | 2025-04-02 11:16
MS-EDTA4Na | EDTA TetraSodium 0.01 M |  | 3771.6 | Hanna Instruments | MS-EDTA4Na | 2339 | [5 empty] | ana | 2025-04-02 11:25
MS-EDTA4Na | EDTA TetraSodium 0.01 M |  | 3364.7 | Hanna Instruments | MS-EDTA4Na | 2382 | [5 empty] | ana | 2025-04-02 11:29
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
HI93735A-HR | Hardness High Range Reagent A | L56 CTK | 500 | mL | 600 | 2406
Preparation Notes
Date | Type | Description | Operator
2025-04-02 | Issue | Din start s-a adaugat cu -7%Ms _EDTA0.01N | ana