## PREP_MS-EDTA4Na.L56.
Preparation
Recipe | MS-EDTA4Na | Line | L56 CTK | Procedure |  | Rev | 0.1 | Exp | 3
Description | EDTA TetraSodium 0.01 M | Density | 1.02 | MaxQty | 5L | MinQty | 1L | Multiple | 1 | Mix
Recipe by | Dan | Preparation Date | 2025-03-10 | # Preparation Week | 1
Planned Preparation Week | 10/2025 | Preparation Week | 11/2025 | Planning Reference | n2-sh019
Note |  | Operator | ana | Exp Date | 03/2028
Preparation Lot (Mix) | 2339
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
CM148 | EDTA TETRASODIUM SALT 99% | 194491-31-1 | 0.4153% | 21.081 | 23.83 | 2.749 | 11.54% | 0.4672%
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 99.58% | 5054.919 | 5076.6 | 21.681 | 0.43% | 99.53%
TotalWeight (Kg) | 5.076 | Real Weight (Kg) | 5.1 | Variance (Kg) | 0.024 | Variance Perc | 0.48%
TotalWeight (L) | 4.976 | Real Weight (L) | 5 | Variance (L) | 0.024 | Variance Perc | 0.48%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 5076.6 | Hanna Instruments | DW-A | 20250310 | [5 empty] | ana | 2025-03-11 08:34
CM148 | EDTA TETRASODIUM SALT | 194491-31-1 | 23.83 | SAFC | E5391 | STBL0064 | 2024.05.24 | 100000 gr | W21 | 1/4 |  | ana | 2025-03-11 08:34
Preparation Notes
Date | Type | Description | Operator
2025-03-10 | Issue | Din start s-a adaugat cu +12.51%CM148 | ana