## PREP_SW-5.L56.CTK.1.
Preparation
Recipe | SW-5 | Line | L56 CTK | Procedure |  | Rev | 0 | Exp | 5
Description | SEAWATER 5 | Density | 1.016 | MaxQty | 30L | MinQty | 15L | Multiple | 15 | Mix
Recipe by | Dan | Preparation Date | 2025-04-03 | # Preparation Week | 1
Planned Preparation Week | 14/2025 | Preparation Week | 14/2025 | Planning Reference | n2
Note |  | Operator | ana | Exp Date | 04/2030
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
DW-B | Deionised Water < 15 µS/cm | 7732-18-5 | 97.19% | 29862.006 | 29850 | -12.006 | -0.04% | 97.19%
CM007 | POTASSIUM CHLORIDE 99% | 7447-40-7 | 0.0689% | 21.169 | 21.2 | 0.031 | 0.15% | 0.00069029
CM017 | SODIUM CHLORIDE 99% | 7647-14-5 | 2.313% | 710.642 | 710.6 | -0.042 | -0.01% | 2.314%
CM311 | SODIUM SULFATE ANHYDROUS | 7757-82-6 | 0.3937% | 120.96 | 121 | 0.04 | 0.03% | 0.394%
CM498 | POTASSIUM BROMIDE, 99.5% | 2139626 | 0.0098% | 3.011 | 3.02 | 0.009 | 0.3% | 9.8333e-05
CM030 | SODIUM HYDROGENCARBONATE 99% | 144-55-8 | 0.0197% | 6.053 | 6 | -0.053 | -0.88% | 0.00019536
TotalWeight (Kg) | 30.724 | Real Weight (Kg) | 30.712 | Variance (Kg) | -0.012 | Variance Perc | -0.04%
TotalWeight (L) | 30.24 | Real Weight (L) | 30.228 | Variance (L) | -0.012 | Variance Perc | -0.04%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-B | Deionised Water < 15 µS/cm | 7732-18-5 | 29850 | Hanna Instruments | DW-B | 20250403 | [5 empty] | ana | 2025-04-03 08:27
CM007 | POTASSIUM CHLORIDE | 7447-40-7 | 21.2 | TITOL CHIMICA | TC58455-V3782 | 21712428 | 2025.01.17 | 25000 | 2030.01.30 | 2030.01.30 |  | ana | 2025-04-03 11:35
CM017 | Sodium chloride 25000 g | 7647-14-5 | 710.6 | TITOLCHIMICA | TC72520-V3782 | 21306425 | 2024.10.11 | 25000 | 2029.07.31 | 2029.07.31 |  | ana | 2025-04-03 11:42
CM311 | SODIUM SULFATE ANHYDROUS | 7757-82-6 | 121 | SAFC | 106645.1 | F2309945 445 | 2024.11.22 | 1000 | 2029.07.31 | 2029.07.31 |  | ana | 2025-04-03 11:51
CM030 | Sodium hydrogen carbonate 5000g | 144-55-8 | 6 | TITOL CHIMICA | TC72350-S3782 | 21601513 | 2025.02.03 | 5000 | 2030.02.28 | 2030.02.28 |  | ana | 2025-04-03 11:58
CM498 | POTASSIUM BROMIDE | 2139626 | 3.02 | SIGMA | 60089 | BCCL3319 | 2025.03.17 | 500 | 2028.06.30 | 2028.06.30 |  | ana | 2025-04-03 12:01
Hanna Code Table
Code | Product Name | Line | Volume/Weight | (um) | Q.ty to produce | Lot Number
SEAWATER 5 | Used for STD preparation in QC for HI783 | L56 CTK | 3780 | ml | 8 | 2412
Preparation Notes
Date | Type | Description | Operator