## PREP_ZIRCONIL_729.L5
Preparation
Recipe | ZIRCONIL_729 | Line | L56 CTK | Procedure |  | Rev | 0.1 | Exp | 2
Description | Zirconil So. for HI93729 | Density | 1.1 | MaxQty | 60L | MinQty | 10L | Multiple | 10 | Mix
Recipe by | Dan | Preparation Date | 2025-02-25 | # Preparation Week | 1
Planned Preparation Week | 9/2025 | Preparation Week | 9/2025 | Planning Reference | n2-sh018
Note |  | Operator | ana | Exp Date | 02/2030
Preparation Lot (Mix) | 2310
Component Table
Code | Description | Cas | % | Theoretical weight | Real weight | Variance | Variance Perc | Real Perc | Note | Mix
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 39% | 21727.959 | 21728 | 0.041 | 0% | 39%
CM020 | HYDROCHLORIC ACID 37 % | 7647-01-0 | 60.97% | 33969.559 | 33969.6 | 0.041 | 0% | 60.97%
CM308 | ZIRCONYL CHL.OCTAHYDRATE for Analysis | 13520-92-8 | 0.0242% | 13.482 | 13.49 | 0.008 | 0.06% | 0.00024214
TotalWeight (Kg) | 55.711 | Real Weight (Kg) | 55.711 | Variance (Kg) | 0 | Variance Perc | 0%
Acquisition Table
Code | Description | Cas | Real Weight (g) | Manufacturer | Manufacturer Code | Manufacturer Lot | Delivery Date | Qty Delivered | Week Delivery | Package | Note | Operator | Acquisition Time | Recalculation | Added Chemical (in recipe)
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 15000 | Hanna Instruments | DW-A | 20250225 | [5 empty] | ana | 2025-02-25 15:48
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2977.2 | SIGMA ALDRICH | 30721-M | SDBB0622 | 2024.10.07 | 2000 | 2027.08.30 | 2027.08.30 |  | ana | 2025-02-25 15:49
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2989.1 | SIGMA ALDRICH | 30721-M | SDBB0622 | 2024.10.07 | 2000 | 2027.08.30 | 2027.08.30 |  | ana | 2025-02-25 15:50
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2977.5 | SIGMA ALDRICH | 30721-M | SDBB0622 | 2024.10.07 | 2000 | 2027.08.30 | 2027.08.30 |  | ana | 2025-02-25 15:51
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2977.4 | SIGMA ALDRICH | 30721-M | SDBB0622 | 2024.10.07 | 2000 | 2027.08.30 | 2027.08.30 |  | ana | 2025-02-25 15:52
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2979 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 15:53
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2979.5 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 15:55
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2980.2 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 15:56
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2980.4 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 15:57
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2980 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 15:58
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2979.7 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 16:00
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 2979.7 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 16:01
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 1104 | SIGMA ALDRICH | 30721-M | SDBB1229 | 2024.11.29 | 2500 | 2027.09.30 | 2027.09.30 |  | ana | 2025-02-25 16:04
CM020 | HYDROCHLORIC ACID 37% | 7647-01-0 | 85.9 | MERCK | 1.00317.2500 | Z0950317 437 | 2025.01.27 | 2500 | 2029.08.30 | 2029.08.30 |  | ana | 2025-02-25 16:18
CM308 | ZIRCONYL CHLORIDE OCTAHYDRATE | 13520-92-8 | 13.49 | SIGMA ALDRICH | 224316 | STBK8573 | 2022.11.08 | 100 G | W45 | 1/1 |  | ana | 2025-02-26 08:29
DW-A | Deionised Water < 1 µS/cm | 7732-18-5 | 6728 | Hanna Instruments | DW-A | 20250226 | [5 empty] | ana | 2025-02-26 09:28
Preparation Notes
Date | Type | Description | Operator