# Hanna Statistics – Technical Appendix

# System Context

The Hanna Statistics system will integrate with the existing Gibertini software
environment used at the Hanna Instruments Nusfalau production facility.

The main source of data consists of Excel files exported by the Chemical QC
software, each representing a production lot containing instrument readings
for multiple standards.

# QC Data Structure

Each QC file contains:
• Product metadata
• Lot identification
• Reference standard values
• Instrument readings from up to four meters
• QC operator information
• Optional corrections for invalid readings

# Statistical Processing

The system will automatically compute:
• Running averages across lots
• Sigma distributions for readings
• Control chart limits based on product tolerances
• Statistical summaries per lot and per standard value

# Potential Advanced Analyses

The available datasets allow additional analysis such as:

• Inter‑meter comparison (M1–M4)
• Early trend drift detection
• Correlation between sample weight and measurement values
• First‑pass yield for buffer production
• Correction frequency per buffer type

# Data Volume Considerations

The estimated annual data volume includes more than 100,000 individual
measurement readings. The database structure therefore includes indexed
tables and cached statistical summaries to guarantee responsive analysis
even with multi‑year historical datasets.