## Preparation Details
Preparation
Hanna Code | 10ppm NH4 | Description | 10ppm NH4
Preparation Date | 2025/07/15 | Preparation Hour | 08:46 | Preparation Week | 29/2025
|  |  |  | STD Matrix | DW A | STD Exp (days) | 3 | STD Exp (Date) | 2025/07/18 | Storage STD | Refrigerator
Note |  | Operator | Monika
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR09 | 10 | 1 | 1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/15/2025 8:48:16 AM | 0B | HC31103212 | MR09 | 10 | mg/L | 1 | 1 | CH EQUIP 76 | 456.58 mL | Monika |  | CH EQUIP 76 |  | / | MBL 100 ML | 1198120500 | 2025/12/02
Preparation Notes
Date | Type | Description | Operator