## Preparation Details
Preparation
Hanna Code | 1405µS/cm | Description | 1405µS/cm
Preparation Date | 2025/09/15 | Preparation Hour | 12:03 | Preparation Week | 38/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 60 | STD Exp (Date) | 2025/11/14 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 1405 | .744 | .744 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 9/15/2025 12:06:01 PM | 0I | 999c | MR06N | 1405 | µS/cm | 0.744 | 0.744 |  | 3.01 g | Brigitta P | [5 empty] | 999 | 2035/09/01
Preparation Notes
Date | Type | Description | Operator