## Preparation Details
Preparation
Hanna Code | CALMAGITE10 | Description | Calmagite Solution
MR Code | MR60 | MR Description
Preparation Date | 2025/02/04 | Preparation Hour | 09:07 | Preparation Week | 6/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/02/19 | Storage STD | Refrigerator
Note |  | Operator | Violeta
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
CALMAGITE10 | Calmagite Solution | CP-B006 | 100.0869 | mg/L | 1 |  | 100 |  | 100 | DWA | 500 | 15 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 200 | 4.004 | 4.004 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/4/2025 9:08:36 AM | 0L | BCCJ7117 | 2 | 200 | mg/L | 4.004 | 4.004 | Sartorius 5 ml | 69.90 mL | Violeta |  | Sartorius 5 ml |  |  | ISO LAB 500 ML
Preparation Notes
Date | Type | Description | Operator