## Preparation Details
Preparation
Hanna Code | DPD1-0 | Description | Chlorine Reagent 1
MR Code | MR67C | MR Description
Preparation Date | 2025/10/02 | Preparation Hour | 12:38 | Preparation Week | 40/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/10/03 | Storage STD | ROOM
Note |  | Operator | Katy
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
DPD1-0 | Chlorine Reagent 1 | CP-B136 | 70.906 | mg/L | 2 |  | 26.24 | 10 | 26.24 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 1 | .705 | .705 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/2/2025 12:41:16 PM | 0B | HC39978722 | 1 | 1 | mg/L | 0.705 | 0.705 | SARTORIUS | 26.24 | Katy |  | SARTORIUS |  | 1ML | VWR250ML | 9/8/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93734C-0 | 2.624 mL | 2025/09/08 | 15:31 | 37/2025 | 2025/09/08 | 100 mL | 2025/11/07 | 0B | HC39978722 | 390.177 mL
Preparation Notes
Date | Type | Description | Operator