## Preparation Details
Preparation
Hanna Code | DPD1-0 | Description | Chlorine Reagent 1
MR Code | MR67C | MR Description | Potassium permanganate 0.02 mol (0,01N)
Preparation Date | 2025/03/24 | Preparation Hour | 14:32 | Preparation Week | 13/2025
FW Hanna Parameter | 70.906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/03/25 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
DPD1-0 | Chlorine Reagent 1 | CP-B136 | 70.906 | mg/L | 2 |  | 63.63 | 10 | 63.63 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate 0.02 mol (0,01N) | L |  | 1603221000 | 100 % | 3547 | mg/L | KMn04 | 70.906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .5 | .352 | .352 | 0 | 0 % | -
3 | 1 | .705 | .705 | 0 | 0 % | -
4 | 2 | 1.41 | 1.41 | 0 | 0 % | -
5 | 4 | 2.819 | 2.819 | 0 | 0 % | -
6 | 8 | 5.639 | 5.639 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/24/2025 2:36:31 PM | 0B | HC39978722 | 2 | 0.5 | mg/L | 0.352 | 0.352 | SARTORIUS | 74.2 | Monika |  | SARTORIUS | 1ML |  | BRAND | 3/18/2025
2 | 3/24/2025 2:37:34 PM | 0B | HC39978722 | 3 | 1 | mg/L | 0.705 | 0.705 | SARTORIUS | 73.5 | Monika |  | SARTORIUS | 1ML |  | VWR | 3/18/2025
3 | 3/24/2025 2:38:16 PM | 0B | HC39978722 | 4 | 2 | mg/L | 1.41 | 1.41 | SARTORIUS | 72.09 | Monika |  | SARTORIUS | 5ML |  | VWR | 3/18/2025
4 | 3/24/2025 2:39:02 PM | 0B | HC39978722 | 5 | 4 | mg/L | 2.819 | 2.819 | SARTORIUS | 69.27 | Monika |  | SARTORIUS | 5ML |  | VWR | 3/18/2025
5 | 3/24/2025 2:39:37 PM | 0B | HC39978722 | 6 | 8 | mg/L | 5.639 | 5.639 | SARTORIUS | 63.63 | Monika |  | SARTORIUS | 10ML |  | VWR | 3/18/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93701-0 | 6.363 mL | 2025/03/18 | 09:23 | 12/2025 | 2025/03/18 | 100 mL | 2025/05/17 | 0B | HC39978722 | 550.83 mL
Preparation Notes
Date | Type | Description | Operator