## Preparation Details
Preparation
Hanna Code | HI38001 | Description
Preparation Date | 2025/01/13 | Preparation Hour | 13:35 | Preparation Week | 3/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 360 | STD Exp (Date) | 2026/01/08 | Storage STD | Room
Note |  | Operator | Violeta
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR32/S | 8000 | 5.96 | 5.96 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/13/2025 1:37:13 PM | 0A | BCBS1787V | MR32/S | 8000 | mg/L | 5.96 | 5.96 |  | 176.19 g | Violeta |  |  |  | BALL114CQC01 | ISO LAB 500
Preparation Notes
Date | Type | Description | Operator