## Preparation Details
Preparation
Hanna Code | HI3812-0 | Description | EDTA Solution
MR Code | MR60 | MR Description
Preparation Date | 2025/04/15 | Preparation Hour | 15:33 | Preparation Week | 16/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/04/30 | Storage STD | Refrigerator
Note |  | Operator | Violeta
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3812-0 | EDTA Solution | CP-B051 | 100.0869 | mg/L | 1 |  | 100 |  | 100 | DWA | 1000 | 15 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 20 | .801 | .801 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/15/2025 3:38:37 PM | 0N | BCCJ7117 | 1 | 20 | mg/L | 0.801 | 0.801 | SARTORIUS | 71.60 mL | Violeta |  | SARTORIUS |  |  | BRAND 1000 ML
Preparation Notes
Date | Type | Description | Operator