## Preparation Details
Preparation
Hanna Code | HI3815-0 | Description
Preparation Date | 2025/04/08 | Preparation Hour | 08:44 | Preparation Week | 15/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/05/08 | Storage STD | Refrigeretor
Note |  | Operator | Violeta
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR31 | 0 | .464 | .464 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 4/8/2025 8:45:22 AM | 0A | 212406U | MR31 | 0 | mg/L | 0.464 | 0.464 |  | 29.48 g | Violeta | [5 empty] | 1024060080 | 2026/08/01
Preparation Notes
Date | Type | Description | Operator