## Preparation Details
Preparation
Hanna Code | HI3815-0 | Description | Mercuric Nitrate Solution
MR Code | MR31 | MR Description | Sodium Chloride for Argentometry
Preparation Date | 2025/06/30 | Preparation Hour | 11:27 | Preparation Week | 27/2025
FW Hanna Parameter | 58.44 | Measurement Unit | g | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/07/05 | Storage STD | ROOM
Note |  | Operator | Violeta
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3815-0 | Mercuric Nitrate Solution | CP-B052 | 35.45 | mg/L | 0 | 4640 | 179.44 |  | 179.44 | DWA | 100 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR31 | Sodium Chloride for Argentometry | S | 1 | 1024060080 | 99.92 % | 100 | g | NaCl | 58.44
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 50 | 1.778 | 1.778 | 0 | 0 % | -
2 | 500 | 17.778 | 17.778 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/30/2025 11:34:13 AM | 0A | 212406U | 2 | 500 | mg/L | 17.778 | 17.778 | SANTORIUS | 181.72 | Violeta | . | SANTORIUS | PLASTIC | / | VWR 100ML | 6/30/2025 | 1024060080 | 2026/08/01
2 | 6/30/2025 11:34:35 AM | 0A | 212406U | 1 | 50 | mg/L | 1.778 | 1.778 | SANTORIUS | 179.44 | Violeta | . | SANTORIUS | PLASTIC | / | VWR 100ML | 6/30/2025 | 1024060080 | 2026/08/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI3815-0 | 0.833 mL | 2025/06/30 | 11:27 | 27/2025 | 2025/06/30 | 200 mL | 2025/07/10 | 0A | 212406U | 28.552 mL | .
Preparation Notes
Date | Type | Description | Operator