## Preparation Details
Preparation
Hanna Code | HI3815-0 | Description | Mercuric Nitrate Solution
MR Code | MR31 | MR Description | Sodium Chloride for Argentometry
Preparation Date | 2025/09/05 | Preparation Hour | 11:16 | Preparation Week | 36/2025
FW Hanna Parameter | 58.44 | Measurement Unit | g | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/09/10 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3815-0 | Mercuric Nitrate Solution | CP-B052 | 35.45 | mg/L | 0 | 4640 | 176.78 |  | 176.78 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR31 | Sodium Chloride for Argentometry | S | 1 | 1024060080 | 99.92 % | 100 | g | NaCl | 58.44
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 50 | 17.778 | 17.778 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/5/2025 11:22:30 AM | 0A | 212406U | 1 | 50 | mg/L | 17.778 | 17.778 | SARTORIUS | 176.78 | Salome |  | SARTORIUS | 10ML |  | ISOLAB 1000ML | 9/5/2025 | 1024060080 | 2026/08/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI3815-0 | 0.820 mL | 2025/09/05 | 11:16 | 36/2025 | 2025/09/05 | 195.562 mL | 2025/09/15 | 0A | 212406U | 27.624 mL
Preparation Notes
Date | Type | Description | Operator