## Preparation Details
Preparation
Hanna Code | HI3834-0 | Description | Iron Reagent
MR Code | MR33 | MR Description | Iron 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/07/01 | Preparation Hour | 11:09 | Preparation Week | 27/2025
FW Hanna Parameter | 55.84 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/07/03 | Storage STD | ROOM
Note | test STREAPF | Operator | Eniko
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3834-0 | Iron Reagent | CP-R41 | 55.84 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR33 | Iron 1000 mg/l Standard Solution AAS in nitric acid | L |  | 16596-250ML | 100 % | 1000 | mg/L | Fe III | 55.84
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 2 | .5 | 0 | .5 | 0 % | -
2 | 4 | 1 | 1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/1/2025 11:14:59 AM | 0B | BCCH9889 | 2 | 4 | mg/L | 1 | 1 | 1 mL MICROPIPETTE | 245.20 mL | Eniko |  | 1 mL MICROPIPETTE |  | ISOLAB 250 ML
Preparation Notes
Date | Type | Description | Operator