## Preparation Details
Preparation
Hanna Code | HI3846-0 | Description | Chromium Reagent
MR Code | MR43 | MR Description | Cr VI 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/04/08 | Preparation Hour | 10:51 | Preparation Week | 15/2025
FW Hanna Parameter | 51.996 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/04/10 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3846-0 | Chromium Reagent | CP-R43 | 51.996 | mg/L | 1 |  | 97 | 10 | 97 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR43 | Cr VI 1000 mg/l Standard Solution AAS in nitric acid | L |  | 02733-250ML | 100 % | 1000 | mg/L | Cr(VI) | 51.996
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | 1 | 1 | 0 | 0 % | -
3 | .8 | 2 | 2 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/8/2025 10:52:25 AM | 0B | BCCK2665 | 2 | 0.4 | mg/L | 1 | 1 | SARTORIUS | 99 | Brigitta P |  | SARTORIUS | 1ML |  |  | 4/8/2025 | 02733-250ML | 2026/01/30
2 | 4/8/2025 10:52:52 AM | 0B | BCCK2665 | 3 | 0.8 | mg/L | 2 | 2 | SARTORIUS | 97 | Brigitta P |  | SARTORIUS | 5ML |  | VWR 250ML | 4/8/2025 | 02733-250ML | 2026/01/30
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI3846-0 | 9.700 mL | 2025/04/08 | 10:51 | 15/2025 | 2025/04/08 | 100 mL | 2025/04/23 | 0B | BCCK2665 | 176 mL
Preparation Notes
Date | Type | Description | Operator