## Preparation Details
Preparation
Hanna Code | HI3847-0 | Description | Copper Reagent
MR Code | MR44 | MR Description
Preparation Date | 2025/12/04 | Preparation Hour | 11:23 | Preparation Week | 49/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/12/06 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3847-0 | Copper Reagent | CP-R26 | 63.546 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR44 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 2 | .5 | .5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/4/2025 11:24:25 AM | 0A | BCCH9264 | 2 | 2 | mg/L | 0.5 | 0.5 | SARTORIUS CH-LQUIP76 | 71.95 mL | Andrea V |  | SARTORIUS CH-LQUIP76 |  | 1ML | VWR 250ML
Preparation Notes
Date | Type | Description | Operator