## Preparation Details
Preparation
Hanna Code | HI3895K-0 | Description | Potassium Reagent
MR Code | MR107 | MR Description | Potassium 1000 mg/L Standard Solution in HNO3 0.5M
Preparation Date | 2025/10/23 | Preparation Hour | 14:21 | Preparation Week | 43/2025
FW Hanna Parameter | 39.1 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/10/25 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI3895K-0 | Potassium Reagent | CP-R08 | 39.0983 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR107 | Potassium 1000 mg/L Standard Solution in HNO3 0.5M | L |  | 170230.0100 | 100 % | 1000 | mg/L | K | 39.1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 16 | 4 | 4 | 0 | 0 % | -
2 | 36 | 9 | 9 | 0 | 0 % | -
3 | 72 | 18.001 | 18.001 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/23/2025 2:21:58 PM | 0A | HC31852930 | 1 | 16 | mg/L | 4 | 4 | SARTORIUS | 75.00 mL | Monika |  | SARTORIUS |  | SARTORIUS 5ML | Boro 250 ML
2 | 10/23/2025 2:22:31 PM | 0A | HC31852930 | 2 | 36 | mg/L | 9 | 9 | SARTORIUS | 66.00 mL | Monika |  | SARTORIUS |  | SARTORIUS 5ML | Boro 250 ML
3 | 10/23/2025 2:22:53 PM | 0A | HC31852930 | 3 | 72 | mg/L | 18.001 | 18.001 | SARTORIUS | 48.00 mL | Monika |  | SARTORIUS |  | SARTORIUS 5ML | Boro 250 ML
Preparation Notes
Date | Type | Description | Operator