## Preparation Details
Preparation
Hanna Code | HI705C-0 | Description | Silica Reagent C
MR Code | MR45 | MR Description | Silicon 1000 mg/l Si Standard Solution AAS in NaOH
Preparation Date | 2025/09/22 | Preparation Hour | 15:17 | Preparation Week | 39/2025
FW Hanna Parameter | 28.0855 | Measurement Unit | mg/L | STD Matrix | DW Silica free | STD Exp (days) | 1 | STD Exp (Date) | 2025/09/23 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI705C-0 | Silica Reagent C | CP-R30 | 60.08 | mg/L | 2 |  | 100 |  | 100 | DW Silica free | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR45 | Silicon 1000 mg/l Si Standard Solution AAS in NaOH | L | 1.0255 | 16259-250ML | 100 % | 1000 | mg/L | Si | 28.0855
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | .093 | .093 | 0 | 0 % | -
3 | 1.6 | .374 | .374 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/22/2025 3:19:09 PM | 0B | BCCJ5908 | 2 | 0.4 | mg/L | 0.093 | 0.093 | SARTORIUS | 248.91 mL | Andrea V |  | SARTORIUS |  | VWR 500 ML
2 | 9/22/2025 3:19:41 PM | 0B | BCCJ5908 | 3 | 1.6 | mg/L | 0.374 | 0.374 | SARTORIUS | 248.54 mL | Andrea V |  | SARTORIUS |  | 5ML | VWR 500ML
Preparation Notes
Date | Type | Description | Operator