## Preparation Details
Preparation
Hanna Code | HI706B-0 | Description | Phosphorus High Range Reagent B
MR Code | MR104 | MR Description
Preparation Date | 2025/09/22 | Preparation Hour | 08:26 | Preparation Week | 39/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/09/25 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI706B-0 | Phosphorus High Range Reagent B | CP-R30 | 30.97 | mg/L | 1 |  | 100 |  | 100 | DWA | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
3 | 12 | 18.399 | 18.399 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/22/2025 8:27:08 AM | 0A | HC46262790 | 3 | 12 | mg/L | 18.399 | 18.399 | SARTORIUS | 394.78 mL | Salome |  | SARTORIUS |  | VWR 500 ML
Preparation Notes
Date | Type | Description | Operator