## Preparation Details
Preparation
Hanna Code | HI711-0 | Description | Total Chlorine Reagent
MR Code | MR67C | MR Description | Potassium permanganate 0.02 mol (0,01N)
Preparation Date | 2024/12/17 | Preparation Hour | 08:40 | Preparation Week | 51/2024
FW Hanna Parameter | 70.906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2024/12/18 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI711-0 | Total Chlorine Reagent | CP-R35 | 70.906 | mg/L | 2 |  | 61.48 | 10 | 61.48 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MPN | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate 0.02 mol (0,01N) | L |  | 1603221000 | 100 % | 3547 | mg/L | KMn04 | 70.906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .5 | .352 | .352 | 0 | 0 % | -
3 | 2.8 | 1.973 | 1.973 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date
1 | 12/17/2024 8:42:13 AM | 0B | HC39978722 | 2 | 0.5 | mg/L | 0.352 | 0.352 |  | 63.45 | Brigitta P |  |  |  |  | VWR 250 ML | 11/19/2024
2 | 12/17/2024 8:42:22 AM | 0B | HC39978722 | 3 | 2.8 | mg/L | 1.973 | 1.973 |  | 61.48 | Brigitta P |  |  |  |  | VWR 250 ML | 11/19/2024
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93701-0 | 6.148 mL | 2024/11/19 | 15:55 | 47/2024 | 2024/11/19 | 100 mL | 2025/01/18 | 0B | HC39978722 | 570.83 mL
Preparation Notes
Date | Type | Description | Operator