## Preparation Details
Preparation
Hanna Code | HI715A-0 | Description | Ammonia Mid-range Reagent A
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/10/23 | Preparation Hour | 10:10 | Preparation Week | 43/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 2 | STD Exp (Date) | 2025/10/25 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI715A-0 | Ammonia Mid-range Reagent A | CP-B134 | 14.007 | mg/L | 2 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 500 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 2.4 | 1.542 | 1.542 | 0 | 0 % | -
3 | 8 | 5.14 | 5.14 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/23/2025 10:11:07 AM | 0B | HC31103212 | 2 | 2.4 | mg/L | 1.542 | 1.542 | SARTORIUS | 241.42 mL | Salome |  | SARTORIUS |  | SARTORIUS 5 ML | ISO LAB 500ML
2 | 10/23/2025 10:14:52 AM | 0B | HC31103212 | 3 | 8 | mg/L | 5.14 | 5.14 | SARTORIUS | 234.28 mL | Salome |  | SARTORIUS |  | SARTORIUS 10 ML | ISO LAB 500ML
Preparation Notes
Date | Type | Description | Operator