## Preparation Details
Preparation
Hanna Code | HI719A-0 | Description | Magnesium Hardness Reagent A
MR Code | MR108 | MR Description
Preparation Date | 2025/09/08 | Preparation Hour | 11:19 | Preparation Week | 37/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/09/13 | Storage STD | ROOM
Note |  | Operator
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI719A-0 | Magnesium Hardness Reagent A | CP-B149 | 100.09 | mg/L | 2 |  | 97.79 | 10 | 97.79 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR108 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | 1.214 | 1.214 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/8/2025 11:27:13 AM | 0A | HC32984188 | 2 | 1 | mg/L | 1.214 | 1.214 |  | 97.79 | [5 empty] | Boro 3.3 | 9/8/2025 | 119788 | 2027/09/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI719A-0 | 9.779 mL | 2025/09/08 | 11:19 | 37/2025 | 2025/09/08 | 100 mL | 2025/09/13 | 0A | HC32984188 | 60 mL
Preparation Notes
Date | Type | Description | Operator