## Preparation Details
Preparation
Hanna Code | HI733A-0 | Description | Ammonia High Range Reagent A
MR Code | MR09 | MR Description
Preparation Date | 2025/10/21 | Preparation Hour | 09:42 | Preparation Week | 43/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 3 | STD Exp (Date) | 2025/10/24 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI733A-0 | Ammonia High Range Reagent A | CP-B135 | 18 | mg/L | 1 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 200 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
3 | 80 | 16 | 16 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/21/2025 9:43:34 AM | 0B | HC31103212 | 3 | 80 | mg/L | 16 | 16 | SARTORIUS 10 ML | 264.09 mL | Monika |  | SARTORIUS 10 ML |  | VWR 200ML
Preparation Notes
Date | Type | Description | Operator