## Preparation Details
Preparation
Hanna Code | HI735C-0 | Description | Fixing Reagent
MR Code | MR20 | MR Description | Calcium 1000 mg/l Standard Solution in HNO3 0.5 mol/l
Preparation Date | 2025/07/17 | Preparation Hour | 09:31 | Preparation Week | 29/2025
FW Hanna Parameter | 40.078 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/07/22 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI735C-0 | Fixing Reagent | CP-R50 | 100.09 | mg/L | 0 |  | 100 |  | 100 | DWA | 100 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR20 | Calcium 1000 mg/l Standard Solution in HNO3 0.5 mol/l | L |  | 1197780500 | 100 % | 1000 | mg/L | Ca | 40.078
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 15 | .601 | .601 | 0 | 0 % | -
3 | 100 | 4.004 | 4.004 | 0 | 0 % | -
4 | 270 | 10.811 | 10.811 | 0 | 0 % | -
5 | 330 | 13.214 | 13.214 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/17/2025 9:33:03 AM | 0B | HC16142778 | 2 | 15 | mg/L | 0.601 | 0.601 | SARTORIUS | 454.77 mL | Andrea V |  | SARTORIUS |  | 1ML
2 | 7/17/2025 9:33:30 AM | 0B | HC16142778 | 3 | 100 | mg/L | 4.004 | 4.004 | SARTORIUS | 450.77 mL | Andrea V |  | SARTORIUS |  | 5ML
3 | 7/17/2025 9:33:55 AM | 0B | HC16142778 | 4 | 270 | mg/L | 10.811 | 10.811 | SARTORIUS | 439.96 mL | Andrea V |  | SARTORIUS |  | 10ML
4 | 7/17/2025 9:34:13 AM | 0B | HC16142778 | 5 | 330 | mg/L | 13.214 | 13.214 | SARTORIUS | 426.75 mL | Andrea V |  | SARTORIUS |  | 10ML
Preparation Notes
Date | Type | Description | Operator