## Preparation Details
Preparation
Hanna Code | HI736-0 | Description | Phosphorus ULR Reagent
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/07/08 | Preparation Hour | 14:25 | Preparation Week | 28/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/07/09 | Storage STD | ROOM
Note |  | Operator
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI736-0 | Phosphorus ULR Reagent | CP-R71 | 30.97 | µg/L | 0 |  | 92.38 | 10 | 92.38 | DWA | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 40 | .613 | .613 | 0 | 0 % | -
3 | 160 | 2.453 | 2.453 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/8/2025 2:24:18 PM | 0A | HC32537198 | 2 | 40 | µg/L | 0.613 | 0.613 | SARTORIUS | 94.83 |  |  | SARTORIUS | 1 ML |  | VWR 500ML | 7/8/2025
2 | 7/8/2025 2:24:50 PM | 0A | HC32537198 | 3 | 160 | µg/L | 2.453 | 2.453 | SARTORIUS | 92.38 |  |  | SARTORIUS | 5 ML |  | VWR 500ML | 7/8/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI736-0 | 9.238 mL | 2025/07/08 | 12:41 | 28/2025 | 2025/07/08 | 100 mL | 2025/07/23 | 0A | HC32537198 | 68.39 mL
Preparation Notes
Date | Type | Description | Operator