## Preparation Details
Preparation
Hanna Code | HI746-0 | Description | Iron Low Range Reagent
MR Code | MR33 | MR Description | Iron 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/10/29 | Preparation Hour | 09:56 | Preparation Week | 44/2025
FW Hanna Parameter | 55.84 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) |  | STD Exp (Date) |  | Storage STD
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI746-0 | Iron Low Range Reagent | CP-R54 | 55.845 | µg/L | 0 |  | 100 |  | 100 | DWA | 500
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR33 | Iron 1000 mg/l Standard Solution AAS in nitric acid | L |  | 16596-250ML | 100 % | 1000 | mg/L | Fe III | 55.84
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | .1 | .1 | 0 | 0 % | -
3 | 800 | .4 | .4 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/29/2025 10:03:06 AM | 0A | BCCM1625 | 2 | 200 | µg/L | 0.1 | 0.1 | SARTORIUS | 213.73 mL | Andrea V |  | SARTORIUS |  |  | ISOLAB500ML
2 | 10/29/2025 10:03:29 AM | 0A | BCCM1625 | 3 | 800 | µg/L | 0.4 | 0.4 | SARTORIUS | 213.33 mL | Andrea V |  | SARTORIUS |  | 1ML | ISOLAB500ML
Preparation Notes
Date | Type | Description | Operator