## Preparation Details
Preparation
Hanna Code | HI747-0 | Description | Copper Low Range Reagent
MR Code | MR44 | MR Description | Copper 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/04/16 | Preparation Hour | 09:35 | Preparation Week | 16/2025
FW Hanna Parameter | 63.546 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/04/18 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI747-0 | Copper Low Range Reagent | CP-R60 | 63.546 | µg/L | 0 |  | 97.5 | 10 | 97.5 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR44 | Copper 1000 mg/l Standard Solution AAS in nitric acid | L |  | 38996-250ml | 100 % | 1000 | mg/L | Cu | 63.546
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | .5 | .5 | 0 | 0 % | -
3 | 800 | 2 | 2 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/16/2025 9:54:18 AM | 0A | BCCH9264 | 2 | 200 | µg/L | 0.5 | 0.5 | Sartorius 1 ml | 99.5 | Kinga |  | Sartorius 1 ml | 1 ml |  | BRAND 250 ml | 4/16/2025 | 38996-250ml | 2025/05/02
2 | 4/16/2025 9:55:10 AM | 0A | BCCH9264 | 3 | 800 | µg/L | 2 | 2 | Sartorius | 97.5 | Kinga |  | Sartorius | 5 ml |  | BRAND 250 ml | 4/16/2025 | 38996-250ml | 2025/05/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI747-0 | 9.750 mL | 2025/04/16 | 09:35 | 16/2025 | 2025/04/16 | 100 mL | 2025/04/21 | 0A | BCCH9264 | 97.3 mL | Mictopipette sartorius 10ml
Preparation Notes
Date | Type | Description | Operator