## Preparation Details
Preparation
Hanna Code | HI755S | Description | 5000ppm CaCO3
Preparation Date | 2025/12/12 | Preparation Hour | 08:55 | Preparation Week | 50/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 180 | STD Exp (Date) | 2026/06/10 | Storage STD | ROOM
Note | 5000ppm CaCO3 din MR05 | Operator | Eva
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR05 | 5000 | 2.648 | 2.648 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 12/12/2025 8:59:22 AM | 0A | 0000200797 | MR05 | 5000 | mg/L | 2.648 | 2.648 | - | 16.86 g | Eva |  | - |  | BAL148CQC04 | ISOLAB 500 ML | 1063950050
Preparation Notes
Date | Type | Description | Operator