## Preparation Details
Preparation
Hanna Code | HI7581-500 ppm | Description
Preparation Date | 2024/12/18 | Preparation Hour | 11:11 | Preparation Week | 51/2024
|  |  |  | STD Matrix | SW3 | STD Exp (days) | 30 | STD Exp (Date) | 2025/01/17 | Storage STD | REFRIGERETOR
Note |  | Operator | Brigita T
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 500 | 5 | 5 | 0 | 0 % | -
MR100 | 500 | 13 | 13 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code
1 | 12/18/2024 11:12:24 AM | 0L | BCCJ7117 | MR60 | 500 | mg/L | 5 | 5 | Sartorius | 93.20 mL | Monika |  | Sartorius |  |  | VWR 100 ML
2 | 12/18/2024 11:12:38 AM | 0A | HC45480079 | MR100 | 500 | mg/L | 13 | 13 | Sartorius | 20.00 mL | Monika |  | Sartorius |  |  | VWR 100 ML
Preparation Notes
Date | Type | Description | Operator