## Preparation Details
Preparation
Hanna Code | HI7581 | Description
Preparation Date | 2024/12/18 | Preparation Hour | 14:38 | Preparation Week | 51/2024
|  |  |  | STD Matrix | SW3 | STD Exp (days) | 30 | STD Exp (Date) | 2025/01/17 | Storage STD | Refrigeretor
Note |  | Operator | Brigita T
STD Volume/Weight | 50
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 550 | 2.5 | 2.5 | 0 | 0 % | -
MR100 | 550 | 6.5 | 6.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code
1 | 12/18/2024 2:40:20 PM | 0L | BCCJ7117 | MR60 | 550 | mg/L | 2.5 | 2.5 | Sartorius | 90.70 mL | Brigita T |  | Sartorius |  |  | Duran 50 ml
2 | 12/18/2024 2:40:36 PM | 0A | HC45480079 | MR100 | 550 | mg/L | 6.5 | 6.5 | Sartorius | 13.50 mL | Brigita T |  | Sartorius |  |  | Duran 50 ml
Preparation Notes
Date | Type | Description | Operator