## Preparation Details
Preparation
Hanna Code | HI7581 | Description
Preparation Date | 2025/02/27 | Preparation Hour | 12:04 | Preparation Week | 9/2025
|  |  |  | STD Matrix | SW3 | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/29 | Storage STD | Refrigeretor
Note |  | Operator | Brigita T
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 550 | 5.5 | 5.5 | 0 | 0 % | -
MR100 | 550 | 13 | 13 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/27/2025 12:05:16 PM | 0M | BCCJ7117 | MR60 | 550 | mg/L | 5.5 | 5.5 | Sartorius 5+ 10 ml | 36.90 mL | Brigita T |  | Sartorius 5+ 10 ml |  |  | DURAN 100 ML | 94458-100ML | 2026/10/15
2 | 2/27/2025 12:05:34 PM | 0D | HC45480079 | MR100 | 550 | mg/L | 13 | 13 | Sartorius 5+ 10 ml | 53.00 mL | Brigita T |  | Sartorius 5+ 10 ml |  |  | DURAN 100 ML | 1703790100
Preparation Notes
Date | Type | Description | Operator