## Preparation Details
Preparation
Hanna Code | HI7581 | Description | Calcium Reagent A
MR Code | MR60 | MR Description
Preparation Date | 2025/08/25 | Preparation Hour | 10:58 | Preparation Week | 35/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW3 + 1300 ppm Mg (MR100) | STD Exp (days) | 5 | STD Exp (Date) | 2025/08/30 | Storage STD | ROOM
Note | MR100: 6.5ML | Operator | Andrea V
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI7581 | Calcium Reagent A | B105 | 40.078 | mg/L | 0 |  | 100 |  | 100 | SW3 + 1300 ppm Mg (MR100) | 50 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
4 | 250 | 1.25 | 1.25 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 8/25/2025 11:03:09 AM | 0A | BCCM4860 | 4 | 250 | mg/L | 1.25 | 1.25 | Micropipette SARTORIUS 5ML | 98.25 mL | Andrea V |  | Micropipette SARTORIUS 5ML |  |  | ISOLAB
Preparation Notes
Date | Type | Description | Operator